DRAFT FOR CONSULTATION – Gas Distribution Code of Practice

Version 1

1 May 2024

**Copyright notice**

Essential Services Commission, Gas Distribution Code of Practice, 2024.



This work is licensed under a Creative Commons Attribution 4.0 licence [<creativecommons.org/licenses/by/4.0>]. You are free to re-use the work under that licence, on the condition that you credit the Essential Services Commission as author, indicate if changes were made and comply with the other licence terms.

The licence does not apply to any brand logo, images or photographs within the publication.

**Revisions to this Code of Practice**

|  |  |  |
| --- | --- | --- |
| Version no. | Date effective | Nature of amendment |
| 1 | 1 May 2024 | Replaced the Gas Distribution System Code of Practice (version 16). |

Table of Contents

[1. Introduction 5](#_Toc149005042)

[1.1. Purpose of the Gas Distribution Code of Practice 5](#_Toc149005043)

[1.2. Commencement and operation 5](#_Toc149005044)

[1.3. Civil penalty requirements 5](#_Toc149005045)

[1.4. Exemption from compliance with this Code of Practice 5](#_Toc149005046)

[2. Interpretation 6](#_Toc149005047)

[2.1. Glossary 6](#_Toc149005048)

[2.2. Customer requests and agreements 16](#_Toc149005049)

[2.3. Receipt of communications and notices 16](#_Toc149005050)

[3. Operation of a distribution system 17](#_Toc149005051)

[3.1. Distributor obligations 17](#_Toc149005052)

[3.2. Guaranteed Service Levels 18](#_Toc149005053)

[3.3. Maintenance 18](#_Toc149005054)

[3.4. Unaccounted for gas 19](#_Toc149005055)

[3.5. Deemed distribution contracts 20](#_Toc149005056)

[4. Connections and augmentation 20](#_Toc149005057)

[4.1. New connections 20](#_Toc149005058)

[4.2. Connection charges 21](#_Toc149005059)

[4.3. Provision of information 22](#_Toc149005060)

[4.4. Augmentation 22](#_Toc149005061)

[5. Interruption 23](#_Toc149005062)

[5.1. Interruption 23](#_Toc149005063)

[5.2. Notice of health or safety interruption 23](#_Toc149005064)

[5.3. Unplanned interruptions 24](#_Toc149005065)

[5.4. Right to information by a customer 24](#_Toc149005066)

[5.5. Minimisation of interruption 24](#_Toc149005067)

[5.6. Interruption procedures 24](#_Toc149005068)

[5.7. Residual retailer obligations 24](#_Toc149005069)

[6. Disconnection, reconnection and abolishment 25](#_Toc149005070)

[6.1. Disconnection 25](#_Toc149005071)

[6.2. Abolishment 26](#_Toc149005072)

[6.3. Reconnection 26](#_Toc149005073)

[6.4. Provision of information on disconnection and abolishment 27](#_Toc149005074)

[7. Life-support equipment 28](#_Toc149005075)

[7.1. Requirement 28](#_Toc149005076)

[7.2. Objective 28](#_Toc149005077)

[7.3. Registration of life-support equipment 28](#_Toc149005078)

[7.4. Distributor obligations when advised by retailer 29](#_Toc149005079)

[7.5. Content of medical confirmation form 29](#_Toc149005080)

[7.6. Confirmation of supply address as requiring life-support equipment 30](#_Toc149005081)

[7.7. Ongoing distributor obligations 31](#_Toc149005082)

[7.8. Deregistration of life-support customer 31](#_Toc149005083)

[7.9. Cessation of distributor obligations after deregistration 31](#_Toc149005084)

[7.10. Deregistration where medical confirmation not provided 32](#_Toc149005085)

[7.11. Deregistration where there is a change in the customer’s circumstances 32](#_Toc149005086)

[7.12. Deregistration where there is a change in the customer’s retailer 34](#_Toc149005087)

[7.13. Registration and deregistration details must be kept by distributors 34](#_Toc149005088)

[8. Customer prohibitions and obligations 35](#_Toc149005089)

[8.1. Customer prohibitions 35](#_Toc149005090)

[8.2. Customer obligations 35](#_Toc149005091)

[9. Non-compliance by distributors and customers 36](#_Toc149005092)

[9.1. Distributor’s obligation to remedy and report 36](#_Toc149005093)

[9.2. Notification to customers 37](#_Toc149005094)

[9.3. Non-compliance by customers 37](#_Toc149005095)

[9.4. Tenants’ obligations 37](#_Toc149005096)

[10. Customer complaint handling 38](#_Toc149005097)

[11. Notification of change of gas type 38](#_Toc149005098)

[11.1. Distributor notice to small customers of change of gas type 38](#_Toc149005099)

[11.2. Publication of information on gas type 39](#_Toc149005100)

[12. Regulatory reviews 40](#_Toc149005101)

[12.1. Appointment of reviewer 40](#_Toc149005102)

[13. Other matters 40](#_Toc149005103)

[13.1. Distributors permitted to subcontract functions 40](#_Toc149005104)

[13.2. Adjustment of network charges 41](#_Toc149005105)

[13.3. Costs of inspection and testing 41](#_Toc149005106)

[Schedule 1: Civil Penalty Requirements 42](#_Toc149005107)

[Schedule 2: Operational matters 43](#_Toc149005108)

[Part 1: Distribution system pressure 43](#_Toc149005109)

[Part 2: Maximum allowable error limits 43](#_Toc149005110)

[Part 3: Unaccounted for gas 44](#_Toc149005111)

[Part 4: Guaranteed Service Levels 45](#_Toc149005112)

[Schedule 3: Gas distributor reporting obligations and performance indicators 46](#_Toc149005113)

[Part 1: Distributor reporting obligations 46](#_Toc149005114)

[Part 2: Distributor performance indicators 49](#_Toc149005115)

# Introduction

### Purpose of the Gas Distribution Code of Practice

The objectives of this Code of Practice are:

* + - 1. to set out the minimum standards for the operation and use of a *distribution system* including requirements for:
				1. the operation of a *distribution system*;
				2. *connection* and *augmentation*;
				3. *disconnection*, *reconnection* and *abolishment*;
				4. interruptions;
				5. life-support equipment;
				6. provision of information to *customers*;
				7. *deemed distribution contract* requirements; and
				8. customer complaint handling.
			2. to promote the long-term interests of Victorian energy consumers.

### Commencement and operation

The Gas Distribution Code of Practice (version 1) comes into effect on 1 May 2024.

Note: This Code of Practice replaces version 16 of the Gas Distribution System Code of Practice.

### Civil penalty requirements

The clauses specified in Schedule 1 of this Code of Practice are specified as civil penalty requirements for the purposes of section 47(4)(f) of the *Essential Services Commission Act 2001*.

### Exemption from compliance with this Code of Practice

* + 1. A person who is subject to any obligation under this Code of Practice may apply to the *Commission* for an exemption from complying with one or more provisions of this Code of Practice.
		2. Upon receipt of an application, if the *Commission* considers it appropriate to do so, it may exempt the person from complying with one or more provisions of this Code of Practice for a specified period.
		3. Any exemption granted under clause 1.4.2:
			1. may exempt the person from complying with a provision of this Code of Practice either wholly or to a specified extent; and
			2. may be granted unconditionally or on such conditions as the *Commission* considers appropriate.

# Interpretation

### Glossary

Words and phrases in this Code of Practice which appear in italics are defined below:

|  |  |
| --- | --- |
| *abolishment* | the permanent removal of a *connection* by:(a) cut and cap of the service within the street and removal of all above ground assets (including the *meter*); or(b) removing a *meter* and service line to prevent the withdrawal of gas at the *distribution delivery point*. |
| *access arrangement* | an access arrangement approved by the Australian Energy Regulator under the *National Gas Rules*. |
| *Act* | the *Gas Industry Act 2001*. |
| *AEMO* | the Australian Energy Market Operator Limited, ABN 94 072 010 327. |
| *affected parties* | persons who may be affected by the possible inaccuracy of a *metering installation* or *metering data* from that *metering installation.* |
| *augmentation* | the process of upgrading capacity or service potential of a *distribution pipeline* by:(a) replacing or enhancing existing plant or equipment; or(b) adding new plant or equipment. |
| *best endeavours* | includes actingin good faith and doing all that is reasonably necessary in the circumstances. |
| *biomethane* | a substance:(a) that is in a gaseous state at standard temperature and pressure;(b) the principal constituent of which is methane;(c) that is produced by refining biogas; and(d) that is suitable for consumption. |
| *business day* | a day other than a Saturday or a Sunday or a public holiday (being a public holiday that is appointed as such under the *Public Holidays Act 1993*) in the Melbourne metropolitan area. |
| *Class A supply point* | a *distribution delivery point* of a *gas* *customer* or a *distribution connected facility* that withdraws 250,000 *GJ* or more per year. |
| *Class B supply point* | a *distribution delivery point* of a *gas* *customer* or a *distribution connected facility* that withdraws less than 250,000 *GJ* per year. |
| *Commission* | the Essential Services Commission established under the *Essential Services Commission Act 2001*. |
| *complaint*  | a written or verbal expression of dissatisfaction about an action, a proposed action, or a failure to act by a *distributor*, its employees or contractors. This includes failure by the *distributor* to observe its published practices or procedures. |
| *connection* | the joining of a *gas installation* to a *distribution delivery point* to allow the flow of *gas*. |
| *connection alteration* | an alteration to an existing *connection* including an addition, upgrade, extension, expansion, *augmentation* or any other kind of alteration. |
| *connection charge* | a charge imposed by a *distributor* for a *connection service*. |
| *connection service* | a service relating to a new *connection* for premises or a service relating to a *connection alteration* for premises. |
| *corrector* | adevice which adjusts an uncorrected quantityof *gas* from actual to standard conditions for billing and other purposes. |
| *customer* | a person to whom a *distributor* delivers *gas* through its *distribution system* at a *distribution delivery point* or a person who has sought *connection* to the *distribution system* for such delivery or potential delivery of *gas*. |
| *data logger* | a device that collects and stores data relating to the quantity, temperature and pressure of *gas* and is capable of either:(a) transferring recorded data to a portable reading device; or(b) being accessed electronically by AEMO through a data collection system. |
| *declared transmission system (DTS)* | a *transmission pipeline*, or a part of a *transmission pipeline*, declared by Order under section 39 of the *National Gas (Victoria) Act 2008* to be a declared transmission system. |
| *dedicated facilities* | in relation to a *customer*, means those facilities that are used or may be used to transport gas to that *customer* and no other *customer*. |
| *deemed distribution contract* | the terms and conditions for the distribution or supply of *gas* by a *distributor* that are approved by the *Commission* under section 48 of the *Act*. |
| *deregister* | the removal or modification of *life-support customer details* from a *register of life-support customers and residents* so as to indicate that a *customer* is no longer a *life-support customer*.  |
| *deregistration notice* | a written notice issued by a *distributor* to inform a *customer* that their *life-support customer details* will be removed from the *register of life-support customers and residents* if the *customer* does not provide *medical confirmation* by the date specified in that *deregistration notice*.  |
| *disconnection* | the temporary closing of a *connection* to prevent the withdrawal of gas at the *distribution delivery point* by:(a) the use of locks or plugs at a *metering installation*; or(b) removal of the *meter* at a *metering installation* (without removing the service line)that does not include an *interruption*. |
| *distribution connected facility* | a *storage facility*, gas production facility or blend processing facility connected to a *distribution system*. |
| *distribution licence* | alicence to provide services (other than the sale of gas by retail)by means of a distribution pipeline granted by the *Commission* under the *Act.* |
| *distribution pipeline* | any *pipeline* which has a maximum allowable operating pressure of up to 1050 *kPa* gauge (including pipelines for the reticulation of tempered liquified petroleum gas) and any other *pipelines* which:(a) have a maximum allowable operating pressure greater than 1050 *kPa* gauge;(b) are functionally a distribution pipeline in nature (i.e., few inputs and many closely spaced outputs); and through which a *distributor* transports *gas* to *customers.* |
| *distribution service* | the service of receipt of *gas* at *transfer points* and *receipt points,* haulage of the *gas* through a *distribution system* and delivery of the *gas* at *distribution delivery points.* |
| *distribution delivery point* | a point on a *distribution pipeline* at which *gas* is withdrawn from a *distribution system* and delivered to a *customer* or injected into a *distribution connected facility*.  |
| *distribution system* | a network of pipes, meters and controls which a *distributor* uses to supply *gas*. |
| *distributor* | a person who holds a *distribution licence* under the *Act*. |
| *DUAFG period* | has the same meaning as in the Wholesale Market Distribution UAFG Procedures (Victoria). |
| *emergency* | has the same meaning as in the *Emergency Management Act 2013*. |
| *energy ombudsman* | the Energy and Water Ombudsman (Victoria) scheme or any other customer dispute resolution scheme approved by the *Commission* pursuant to section 36 of the *Act*. |
| *Energy Retail Code of Practice* | the code of practice of that name made by the *Commission*.  |
| *error limits* | the limits within which the components of *metering installations* affecting metering must be calibrated to be accurate as set out in Schedule 2, Part 2. |
| *ESV* | Energy Safe Victoria established under the Energy Safe Victoria Act 2005. |
| *explicit informed consent* | consent given in accordance with clauses 7.1.1(c) and (d). |
| *force majeure* | an event beyond the reasonable control of a person which causes a delay in performance, or non‑performance by that person of an obligation and includes:(a) an *emergency*;(b) the issue by *ESV* of a direction under section 106 or 107 of the *Gas Safety Act 1997*; or(c) an act of nature, governmental intervention or act of war, neither anticipated nor controllable by a *distributor*.  |
| *gas* | has the same meaning as in the *Act.* |
| *gas blend* | *primary gases* that have been blended together. |
| *Gas Distribution Code of Practice* | The code of practice of that name, either made by the *Commission*, or taken to have been made, under Part 6 of the *Essential Services Commission Act 2001*, as amended by the *Commission* from time to time. |
| *gas installation*  | any *gas* equipment located at a *customer’s* premises that is not part of a *distribution system.* |
| *gas installer* | a person authorised under relevant *regulatory requirements* to install, repair, alter or make any addition to a *gas installation* or to any part of a *gas installation.* |
| *GJ* | Gigajoule, being one thousand million Joules (1,000,000,000j). |
| *Guaranteed Service Levels* or *GSLs* | the levels of service in connection with the *distribution* of *gas* to *customers* set out in Schedule 2, Part 4 to thisCode of Practice*.* |
| *interruption* | a *planned interruption* or an *unplanned interruption*. |
| *kPa* | Kilopascal, equal to one thousand pascals as defined in Australian Standard ASIOOO‑1979 “The International System of Units (S1) and its Application” and, unless otherwise specified, refers to a gauge pressure in excess of the atmospheric pressure. |
| *life-support customer* | a *customer* who is a *life-support resident* or a *customer* at whose premises a *life-support resident* (who is not the *customer*) resides or intends to reside. |
| *life-support customer details* | in relation to a *customer*:(a) information that evidences that the *customer* is a *life-support customer*;(b) the personal details of each *life-support resident* residing or intending to reside at the premises of the *life-support customer*; and(c) the date from which *life-support equipment* is required at the premises of the *life-support customer* by each *life-support resident*.  |
| *life-support equipment* | has the meaning given by section 48DC of the *Act*.  |
| *life-support protections* | the protections against *disconnection* of a *life-support customer* under Part 3, Division 4AA of the *Act* and clause 7.7 of this Code of Practice. |
| *life-support resident* | a person who requires *life-support equipment*. |
| *main*  | a low, medium or high-pressure pipe in a *distribution system,* other than a *service pipe.* |
| *market participant*  | a person who is registered with *AEMO* under the *National Gas Rules* as a market participant. |
| *medical confirmation* | certification in a *medical confirmation form* from a registered medical practitioner that a person residing or intending to reside at a *customer*’s supply address requires *life-support equipment*. |
| *medical confirmation form* | a written form, issued by a *distributor* to enable the *customer* to provide *medical confirmation* to the *distributor*.  |
| *meter* | an instrument that measures the quantityof *gas* passing through it and includes associated equipment attached to the instrument to filter, control or regulate the flow of gas. |
| *metering data*  | the measure of quantity of *gas* flow obtained from a *metering installation*. |
| *metering installation* | the *meter* and associated equipment and installations, which may include *correctors*, regulators, filters, *data loggers* and telemetry relating to a *distribution delivery point.* |
| *National Gas Rules* | has same meaning as in the *NGL*. |
| *natural gas* | has the same meaning as in the *Act*. |
| *NGL* | the National Gas (Victoria) Law as applied under section 7 of the *National Gas (Victoria) Act 2008*.  |
| *non-DTS distribution system* | a *distribution system* which is not connected directly or indirectly to a *declared transmission system*, or which is indirectly connected to a *declared transmission system* but by means of a pipeline that does not form part of a *declared transmission system*. |
| *pipeline* | has the same meaning as in the *Act.* |
| *planned interruption* | an *interruption* under clause 5.1(e) of this Code of Practice. |
| *prescribed standards of quality* | the standards of quality and other requirements for *gas* set out in the *Gas Safety Act 1997*. |
| *primary gas* | means the following:(a) *natural gas*;(b) hydrogen;(c) *biomethane*;(d) *synthetic methane*;(e) a gas prescribed by the Regulations of the *NGL* for the purpose of this definition;(f) a substance prescribed as a primary gas by Victorian regulations. |
| *receipt point* | a point at which *gas* is received into a *pipeline*, other than a *transfer point*, including a point at which *gas* is received into the *pipeline* from a *distribution connected facility*. |
| *reconnection* | action to restore the ability to withdraw *gas* at a *distribution delivery point* following an earlier *disconnection* by the removal of any locks or plugs at a *metering installation* or by the reinstallation of a *meter* if it has been removed. |
| *reconciliation amount* | has the same meaning as ‘DUAFG reconciliation amount’ in *AEMO’s* Wholesale Market Distribution UAFG Procedures (Victoria). |
| *register of life-support customers and residents* | a register established, maintained and kept up to date in accordance with clauses 7.3 and 7.13 of this Code of Practice. |
| *registered life-support customer* | in relation to a *distributor*, a *life-support customer* who is registered in the *register of life-support customers and residents* established, maintained and kept up to date by that *distributor*. |
| *regulatory requirements* | any applicable Commonwealth, Victorian or local law, subordinate legislation, legislative instrument or mandatory regulatory requirement including industry codes and standards. |
| *regulatory year* | a period commencing on 1 July in a calendar year and terminating on 30 June in the following calendar year.  |
| *residential customer* | a c*ustomer* who uses *gas* primarily for domestic purposes. |
| *responsible person* | in relation to a *metering installation* at a *distribution delivery point*, has the meaning in rule 292 of the *National Gas Rules*. |
| *retail billing period* | two calendar months or any other period agreed between a *distributor* and a *retailer*. |
| *retail licence* | a licence to sell *gas* granted by the *Commission* under section 26 of the *Act*. |
| *retailer*  | a person who holds a *retail licence* under the *Act*. |
| *Schedule 2 Guidance* | Schedule 2 to version 16 of the Gas Distribution System Code of Practice, as in force immediately before the commencement of this Code of Practice.  |
| *service pipe* | a pipe ending at a *metering installation* or, for an unmetered site a *gas installation*, which connects a *main* or a *transmission pipeline* to *customer’s* premises, as determined by a *distributor.* |
| *shared distribution system* | in relation to a *customer*, means the part of a *distribution system* that is used or may be used to transport *gas* to that *customer* that does not comprise *dedicated facilities*. |
| *small customer* | means a ‘domestic or small business customer’ as defined in the *Act*. |
| *storage facility*  | a facility for the storage of large quantities of *gas,* including liquid gas storage services and underground storage services. |
| *synthetic methane* | a substance:(a) that is in a gaseous state at standard temperature and pressure;(b) the principal constituent of which is methane;(c) that is produced by the methanation of carbon dioxide; and(d) that is suitable for consumption. |
| *tariff V customer* | residential or small commercial *customer* who consumes either less than 10,000 *GJ* per year or less than 10 *GJ* in one hour. |
| *transfer point* | a point at which the custody of *gas* is injected from a *transmission system* into a *distribution system* or from a *distribution system* into a *distribution system.* |
| *transition date* | the first date on which there may be a change to the *type of gas* in a *distribution system*. |
| *transmission pipeline*  | any *pipeline* which has a maximum allowable operating pressure of greater than 1050 *kPa* gauge and is not a *distribution pipeline.* |
| *transmission system*  | a *pipeline* or a system *of pipelines,* for the high-pressure transmission of *gas* operated by *AEMO* principally in Victoria, and all related facilities, together with:(a) all structures for protecting or supporting the *pipeline* or system of *pipelines;*(b) facilities for the compression of *gas,* the maintenance of the *pipeline* or system of *pipelines* and the injection or withdrawal *of gas;*(c) all fittings, appurtenances, appliances, compressor stations, odorisation plants, scraper stations, valves, telemetry systems (including communications towers) and works and buildings used in connection with the *pipeline* or system *of pipelines;*but excluding all *storage facilities* and *distribution systems.* |
| *type of gas* | a *primary gas* or a *gas blend*. |
| *unaccounted for gas*  | the difference between the amount of *gas* injected into a *distribution system* at all *transfer points* and all *receipt points,* and the total amount of *gas* withdrawn from a *distribution system* at *distribution delivery points,* including but not limited to leakage or other actual losses, discrepancies due to metering inaccuracies and variations of temperature, pressure and other parameters. |
| *unaccounted for gas benchmark*  | the benchmark rate for each *distributor* in relation to the rates of flow of *gas* as set out in Schedule 2, Part 3 of this Code of Practice. |
| *unplanned interruption* | a temporary unavailability or curtailment of the supply of *gas* to carry out unanticipated or unplanned maintenance or repairs in circumstances where: (a) there is a need to reduce the risk of damage to persons or property;(b) a *force majeure* event occurs which affects the *distributor’s* ability to deliver *gas*; or(c) where the *distributor* is directed to *disconnect* supply under clause 6.1.1(c) of this Code of Practice. |
| *user*  | a *market participant, retailer,* or a *customer* who has a contract for *distribution services* with a *distributor.* |
| *year* | a calendar year or a *regulatory year*. |

### Customer requests and agreements

In this Code of Practice, unless the context otherwise requires, a reference to a request or an agreement made by a *customer* includes a request or an agreement by an authorised agent or representative of the *customer*.

### Receipt of communications and notices

Any written communication or notice required or permitted to be given under this Code of Practice is to be regarded as having been given by the sender and received by the addressee:

* + - 1. if delivered in person to the addressee, or delivered to the addressee’s *supply address*, on the day when the notice is delivered;
			2. if sent by post, four *business days* after the date of posting, unless evidence to the contrary is provided;
			3. if it is an *electronic communication*, at the time determined in accordance with the *Electronic Transactions (Victoria) Act 2000*.

# Operation of a distribution system

### Distributor obligations

* + 1. In operating a *distribution system*, a *distributor* must:
1. establish operational and system security standards for its *distribution system* and for all *connections* and proposed *connections* to its *distribution system*;
2. maintain the delivery pressure of *gas* from its *distribution system* to ensure the minimum supply pressure is maintained at the fringe point and at the outlet of the *meter* as set out in Schedule 2, Part 1 to this Code of Practice to the extent it is within the *distributor’s* power to do so;
3. subject to this Code of Practice, deliver *gas* received from a *user* at *transfer points* and *receipt points* through its *distribution system* to *distribution delivery points* nominated by the *user* on terms and conditions set out in any applicable *access arrangement*;
4. ensure that each *metering installation* for which it is the *responsible person*:
	* + - 1. complies, and is calibrated to comply, with the *error limits*;
				2. if it contains a pressure regulator, is able to provide sufficient flow at the minimum regulator inlet pressure, and where a fixed pressure factor is applied, is able to reliably control the outlet pressure to meet the *distribution system* pressure requirements in Schedule 2, Part 1 to this Code of Practice;
5. except where a *distributor* is prevented from so doing by *force majeure*, ensure that *gas* which meets the *prescribed standards of quality* when delivered into its *distribution system* at a *transfer point* or a *receipt point* also meets the *prescribed standards of quality* (including odourisation) when it is delivered to a *customer* at a *distribution delivery point*; and,
6. on request by a *customer*, provide:
	* + - 1. a copy of this Code of Practice or other regulatory documents relevant to the *customer*’s request;
				2. details as to the *distributor’s* requirements in relation to:

the protection of the *distributor’s* equipment; and

non-interference by the *customer* with the *distributor’s distribution system* or with the supply to any other *gas installation*;

* + - * 1. an explanation for any non-compliance with clauses 3.1(b) and 3.1(d),

within 10 *business days* of the request.

* + 1. A *distributor* operating a *non-DTS distribution system* must ensure that each *metering installation* for which it is the *responsible person* complies, to the extent practicable, with the requirements in Division 3, Subdivision 4 of Part 19 of the *National Gas Rules*.

### Guaranteed Service Levels

* + 1. A *distributor* must use *best endeavours* to meet the *Guaranteed Service Levels* for *tariff V customers*.
		2. A *distributor* must:
1. at the end of each quarter, determine whether it must make a *Guaranteed Service Level* payment;
2. where a *distributor* has not met a *Guaranteed Service Level* in relation to a particular *tariff V customer*, the *distributor* must make a payment as soon as practicable and in any event within two *retail billing periods* following the completion of the quarter in which the *customer* became eligible for the *Guaranteed Service Level* payment.

Note: The payment amounts for failure to meet the *Guaranteed Service Levels* are set out in Part 4 of Schedule 2 to this Code of Practice.

### Maintenance

A *distributor* must:

1. use *best endeavours* to maintain the capability of its *distribution system*;
2. establish a maintenance program for its *distribution system* for the following *year* at least 3 months prior to the commencement of that *year*; and
3. establish an indicative maintenance program for its *distribution system* for each of the following five *years* following the current firm maintenance program.

### Unaccounted for gas

* + 1. A *distributor* must use *best endeavours* to ensure that the quantity of *unaccounted for gas* in its *distribution system* for any *year* as a percentage of the aggregate quantity of gas received by the *distributor* at all *transfer points* and at all *receipt points* into its *distribution system* in that *year* is less than the applicable *unaccounted for gas benchmark*(s) set out against its name in Schedule 2, Part 3 of this Code of Practice.

Note: Each of the *unaccounted for gas benchmark* values set out in Schedule 2, Part 3 is specific to a single *DUAFG period*. Where a calendar year comprises two *DUAFG period*s, the quantity of *unaccounted for gas* for each of those *DUAFG periods* must be assessed against the *unaccounted for gas benchmark* applicable in that *DUAFG period*.

* + 1. With respect to clause 3.4.1, a *distributor* must give written notice to *AEMO* of the volume of *gas* withdrawn by the *distributor* for a *customer* for each calendar year. A *distributor* must give the written notice to *AEMO* within 16 months after the end of the calendar year in which the *gas* was withdrawn.
		2. Where the percentage volume of *unaccounted for gas* in a *year* is different to the *unaccounted for gas benchmark* a *reconciliation amount* is payable.

Note: The *reconciliation amount* for a calendar year is the sum of the *reconciliation amounts* for each of the *DUAFG periods* in that calendar year and any adjusted *reconciliation amounts* (determined under the Wholesale Market Distribution UAFG Procedures (Victoria)) for a *DUAFG period* in the previous calendar year.

* + 1. If the *reconciliation amount* is negative, the *distributor* must pay the r*econciliation amount* to the respective *retailer*.
		2. If the *reconciliation amount* is positive the *retailer* must pay the *reconciliation amount* to the respective *distributor*.
		3. A *distributor* must publish on its website the most recently available data of *unaccounted for gas*, including:
1. data that has been settled between *distributor*s and *retailer*s for the previous five *years*;
2. where the data referred to in clause 3.4.6(a) is not available, the most recently available unsettled data for the previous five *years*, using estimates based on actual available data at the time of publication; and
3. a comparison with the applicable *unaccounted for gas benchmark*(s) for each period.
	* 1. The information published under clause 3.4.6 must:
4. be in a format that makes it easy for a *small customer* to understand;
5. be updated no later than 60 days after the end of each *regulatory year*.
	* 1. Clauses 3.4.1 to 3.4.7 do not apply to a *distributor* that is exempt from registering with *AEMO* under the *NGL*.
		2. A *distributor* that is exempt from registering with *AEMO* under the *NGL* must use *best endeavours* to minimise the quantity of *unaccounted for gas* in its *distribution system*.

### Deemed distribution contracts

* + 1. A *distributor* must include a condition in its *deemed distribution contract* to the effect that it will comply with its obligations in respect of the *customer* as set out in this Code of Practice.
		2. A *distributor* must not include any term or condition in its *deemed distribution contract* the effect of which is to limit the liability of the *distributor* to the *customer*:
			1. for any breach by the *distributor* of the contract; and
			2. for any negligence by the *distributor* in relation to the contract.
		3. Clause 3.5.2 does not prevent the inclusion of a term or condition in the *deemed distribution contract*:
			1. under which the *customer* acknowledges the extent of the *distributor*’s responsibility for the quality and reliability of *gas* supply under this Code of Practice, the *Act* and the *Gas Safety Act 1997*; or
			2. confirming that, under the contract, there is no variation or exclusion to the operation of section 233 of the *Act*.
		4. A *distributor* must not include an indemnity or other term or condition in its *deemed distribution contract* the effect of which is to limit the liability of the *distributor* to the *customer*:
1. for any breach by the *customer* of the contract; or
2. for any negligence by the *customer* in relation to the contract

any greater amount than that which, under the common law (including in equity) or statute, the *distributor* is entitled to as compensation for the *customer*’s breach of contract or negligence.

# Connections and augmentation

### New connections

* + 1. Where a *customer* requests a *distributor* to connect the *customer’s gas installation* to the *distributor’s distribution* system, the *distributor* must do so if:
1. the *gas installation* at the supply address complies with *regulatory requirements*;
2. the *connection* is technically feasible and consistent with the safe and reliable operation of the *distribution system* and the safe and reliable supply of *gas* to *customers*;
3. the *connection* involves minimal or no extension to, or *augmentation* of, any *distribution pipeline* of the *distribution system*;
4. the *customer* agrees to pay any applicable *connection charge*; and
5. the *customer* provides to the *distributor* upon request a notice of installation or completion of *gas installation* work given by a *gas installer* in accordance with the relevant *regulatory requirements*.
	* 1. A *distributor* is not required to energise a new *connection* unless a request to energise the new *connection* is submitted by a *retailer*, or the *distributor* is otherwise satisfied that:
6. the *customer* has a relevant contract with a *retailer* in relation to the premises; or
7. the *customer* has a contract with the *distributor* for the haulage of gas.
	* 1. Subject to clause 4.1.1, a *distributor* must use its *best endeavours* to connect a *customer’s gas installation*:
			1. at a supply address previously supplied by the *distributor* within one *business day* or within a period agreed with the *customer*; or
			2. at a new supply address on the period agreed with the *customer* or, where no period is agreed, within 20 *business days*.
		2. Upon being requested by a *customer* to do so, and subject to any applicable *connection charge,* a *distributor* must make a *connection alteration* within a reasonable time.
		3. If a *customer* requests a *distributor* to provide the *customer*, the *customer’s* representative or the *customer’s gas installer* with information as to the *distributor*’s requirements for any proposed new *gas installation* or proposed *connection alteration*, the *distributor* must do so within 10 *business days* of the request. The information must be provided free of charge and in writing if so requested.
		4. If required by a *distributor*, a *customer* must provide estimated *gas* load information for its proposed use at the proposed supply address.

### Connection charges

* + 1. From 1 May 2024 until 1 January 2025, the *connection charge* to be paid by a *customer* for a *connection service* (if any) must be determined in accordance with the approach set out in clauses 2 to 5 of the *Schedule 2 Guidance.*
		2. For the purposes of clause 4.2.1, the italicised terms in clauses 2 to 5 of the *Schedule 2 Guidance* shall have the definitions given to them in this Code of Practice;
		3. From 1 January 2025, the *connection charge* to be paid by a *customer* for a *connection service* must be the sum of:
1. the cost of purchasing and installing the *dedicated facilities* to that *customer*; and
2. the cost of *augmentation* of the *shared distribution system* which may be required to support the additional load resulting from the *connection service*.
	* 1. For the purposes of clause 4.2.3, costs must be calculated in a fair and reasonable manner and to the extent practicable using the following assumptions:
3. the cost of purchasing and installing the *dedicated facilities* means the direct costs forecast to be incurred to purchase and install mains extensions, service pipes and a *metering installation*;
4. the cost of *augmentation* of the *shared distribution system* means the direct costs forecast to be incurred to purchase and install any upstream facilities.

### Provision of information

* + 1. A *distributor* must publish on its website the following:
1. a description of how an application for a new *connection* or *connection* *alteration* is to be made (including a statement of the information required for a *connection* application);
2. a description of the *distributor*'s *connection services* and an explanation of the *connection* applicant's rights and obligations;
3. the timeframes for connecting a *customer*’s *gas installation* specified in clause 4.1.3; and
4. the basis and assumptions for calculating *connection charges*.
	* 1. From 1 January 2025, where requested, quotes for *connection services* must be itemised to include at least the following information:
5. *meter* type and cost;
6. *mains* extension and service pipes cost;
7. any other incidental costs; and
8. any upstream *augmentation* works and associated costs.

### Augmentation

* + 1. If a *distributor* proposes to recover the costs of *augmentation* from another person, the *distributor* must invite at least two other persons who compete in performing works of that kind (or who are capable of so competing) to provide:
1. information as to their availability to perform the works; and
2. information as to the price of the works, and any terms and conditions which may apply.
	* 1. For the purposes of clause 4.4.1, a *distributor* may call for tenders in advance of the services being required and provide the person to whom the offer is made with contact details and prices of services of persons who have participated in the tender process, which are to be included in the *connection charges*.
		2. Clause 4.4.1 does not apply:
			1. if, despite the *distributor’s best endeavours*, it is not able to identify two other persons who compete in performing works of that kind (or who are capable of so competing);
			2. to the extent that the *augmentation* involves services that cannot be safely or lawfully carried out by a third party; or
			3. if the person to whom the offer is to be made agrees with or instructs the *distributor*, in writing, that no tenders should be called for.

# Interruption

### Interruption

A *distributor* may curtail or interrupt the delivery of *gas* to a *distribution delivery point* to the extent, and for such period of time, as the *distributor* considers is necessary:

1. if there is material damage to, or a need to repair, that part of the *distribution system* used to deliver *gas* at the *distribution delivery point*;
2. if a *force majeure* event occurs which affects the *distributor*’s ability to deliver *gas* at the *distribution delivery point*;
3. in the event of or likelihood of an *emergency*;
4. subject to clause 5.2, for a health or safety reason;
5. if work under a planned maintenance or *augmentation* program is undertaken, and at least 10 days written notice has been given to the *user* under clause 5.6; and
6. under contractual *interruption* arrangements agreed between a *retailer* and a *customer*, or a *distributor* and a *user*.

### Notice of health or safety interruption

Except in the case of an *emergency*, or where relevant *regulatory requirements* require it, a *distributor* must not interrupt or curtail a *customer’s* supply address for a health or safety reason unless the *distributor* has:

1. given the *customer* written notice of the reason;
2. allowed the *customer* five *business days* (after the date of receipt of the notice given under clause 5.2(a) to rectify the reason; and
3. at the expiration of those five *business days*, given the *customer* by way of a written *interruption* warning, a further 5 *business days’* notice of its intention to interrupt the *customer’s* supply address (counted from the date of receipt of this *disconnection* warning under clause 5.2(c)).

### Unplanned interruptions

In the case of an *unplanned interruption*, a *distributor* must provide a 24-hour telephone number to enable *customers* to ascertain details, and the expected duration, of the *interruption*.

### Right to information by a customer

A *distributor* must, at the request of a *customer*, provide an explanation for any *interruption* to supply to the *customer’s* supply address and, if the *customer* requests that the explanation be in writing, it must be given in writing within 20 *business days* of the request.

### Minimisation of interruption

A *distributor* must use *best endeavours* to minimise the duration of an *interruption* to supply referred to in clause 5.1(a)-(e) and must restore supply as soon as practicable.

### Interruption procedures

* + 1. A *distributor* must give *affected parties* (including *AEMO* as required) 10 *business days* prior notice of any planned maintenance testing or repair which will require *interruptions* to the delivery of *gas* at one or more *distribution delivery point*s.
		2. A *distributor* must use *best endeavours* to promptly notify *affected parties* (including *AEMO* as required) of any *unplanned interruptions* to the delivery of *gas* at one or more *distribution delivery point*s.

### Residual retailer obligations

* + 1. A *retailer* must notify the a*ffected parties* (including *AEMO* as required) of its contractual arrangements with a *customer* relating to *interruptions* within 21 *business days* of entering into such arrangements.
		2. A *retailer* must give a*ffected parties* (including *AEMO* as required) seven days prior notice of any planned maintenance testing or repair which will require *interruptions* to the delivery of *gas* at one or more *distribution delivery point* of a *customer* and must liaise with *customers* and use *best endeavours* to accommodate their needs.
		3. If a *distributor* notifies a *retailer* of any *interruption* to delivery of *gas* at a *distribution delivery point*, then the *retailer* must use *best endeavours* to ensure that its *customers* comply with any reasonable requirement set out in the notice.

# Disconnection, reconnection and abolishment

### Disconnection

* + 1. A *distributor* may *disconnect* a *customer* from its *distribution system*:
1. subject to clause 6.1.2, at the direction in writing of a *retailer*;
2. subject to the payment of any applicable charge, where the *customer* requests the *distributor* to *disconnect* the *customer*;
3. where the *distributor* is directed to do so under the *Gas Safety Act 1997*;
4. if a *customer* is obtaining or has obtained supply of *gas* at a supply address other than in accordance with this Code of Practice or any other *regulatory requirement*; or
5. if the *distributor* considers it necessary to *disconnect* the *customer*:
	* + - 1. if there is material damage to, or a need to repair, that part of the *distribution system* used to deliver *gas* at the *distribution delivery point* to that *customer*;
				2. if a *force majeure* event occurs which affects the *distributor’s* ability to deliver *gas* at the *distribution delivery point*;
				3. in the event of or likelihood of an *emergency*;
				4. subject to clause 6.1.3, for a health or safety reason;
				5. subject to clause 6.1.4, because planned maintenance or *augmentation* work is being undertaken; or
				6. under contractual *interruption* arrangements agreed between a *distributor* and a *user*, or agreed between a *retailer* and a *customer*.
		1. Where a *retailer* directs a *distributor* to *disconnect* a *customer* pursuant to clause 6.1.1(a), the *distributor* must not *disconnect* the *customer* unless the *retailer* provides confirmation in writing that it is entitled to *disconnect* the *customer* under the *Act*, the *Energy Retail Code of Practice*, or the applicable contract with the *customer*.
		2. Where a *distributor* considers it necessary to *disconnect* the *customer* for a health or safety reason, the *distributor* must:
6. give the *customer* written notice of the reason;
7. allow the *customer* 5 *business days* to rectify the reason (the 5 *business days* must be counted from the date of receipt of the notice given under clause 6.1.3(a); and
8. at the expiration of those 5 *business days*, give to the *customer*, by way of a written *disconnection* warning, a further 5 *business days’* notice of its intention to *disconnect* the *customer* (the 5 *business days* must be counted from the date of receipt of this *disconnection* warning under clause 6.1.3(c)).
	* 1. Where a *distributor* considers it necessary to *disconnect* the *customer* for planned maintenance testing or repair which will require *disconnection* to the delivery of *gas* at one or more *distribution delivery points*, the *distributor* must give *affected parties* (including *AEMO* as required) 10 *business days* prior notice.
		2. A *distributor* may before making a *disconnection* directed by a *retailer* in accordance with clause 6.1.1(a) require the *retailer*, in consideration of the *distributor* *disconnecting* the *customer*, to indemnify and keep indemnified the *distributor* from and against any loss, liability, damage, claim, action, proceeding, cost and expense suffered or incurred by or made or brought against the *distributor* in consequence of the *disconnection* of the *customer* from its *distribution system*.

### Abolishment

* + 1. A *distributor* must *abolish* a *customer’s connection* to its *distribution system*:
1. subject to clause 6.2.2, at the direction in writing of a *retailer*;
2. subject to clause 6.2.3, where the *customer* requests the *distributor* to do so; or
3. where the *distributor* is directed to do so under the *Gas Safety Act 1997*.
	* 1. Where a *retailer* directs a *distributor* to *abolish* a *customer’s connection* pursuant to clause 6.2.1(a), the *distributor* must not *abolish* the *customer’s connection* unless the *retailer* provides confirmation in writing that the *customer*:
4. has confirmed they are the owner of the premises where the *distribution delivery point* is located;
5. has made a request to the *retailer* for their *connection* to be *abolished*; and
6. has been advised by the *retailer* of applicable charges and has agreed to pay any applicable charges.
	* 1. Where a *customer* requests a *distributor* to *abolish* the *customer’s connection* pursuant to clause 6.2.1(b), the *distributor* must not *abolish* the *customer’s connection* unless the *customer* provides confirmation in writing that the *customer* is the owner of the premises where the *distribution delivery point* is located, has been advised by the *distributor* of applicable charges and has agreed to pay any applicable charges.

### Reconnection

* + 1. Subject to clause 6.3.3, a *distributor* must *reconnect* a *disconnected customer* where the circumstances giving rise to the *disconnection* in accordance with clause 6.1 no longer apply.
		2. A *distributor* is entitled to require the *customer* to pay any applicable *reconnection* charge, except in circumstances where the *disconnection* has occurred outside the *customer’s* control.
		3. Any *reconnection* under clause 6.3.1 must be completed within sufficient time for a *retailer* to meet its contractual obligations to the *customer* as set out in the *Energy Retail Code of Practice*.

### Provision of information on disconnection and abolishment

* + 1. A *distributor* must publish on its website information on:
1. the different forms of cessation of supply (*disconnection* and *abolishment*), including a description of what each involves, procedures and timeframes;
2. applicable charges for *residential customers* for *disconnection, abolishment* and *reconnection*;
3. the circumstances under which a *disconnection* may happen and under which *abolishment* is required; and
4. the rights of *customers* seeking a *disconnection*, *reconnection*, or an *abolishment* of a *customer’s connection* to a *distribution system*.
	* 1. A *distributor* must publish on its website information on the number of *abolishments* completed each *regulatory year*, including:
5. the total number of *abolishments* completed by the *distributor* in the last *regulatory year*; and
6. the number of *abolishments* completed in the last *regulatory year* for each postcode served by the *distributor*.
	* 1. A *distributor* must publish the information required by clause 6.4.2 no later than 60 days after the end of each *regulatory year*.
		2. The information published under clauses 6.4.1 and 6.4.2 must:
7. be expressed in clear, simple and concise language;
8. be in a format that:
	* + - 1. makes it easy for a *small customer* to understand; and
				2. enables a *small customer* to obtain the information relevant to their postcode; and
9. be kept up to date.
	* 1. If a *customer* requests information of the kind referred to in clause 6.4.1, a *distributor* must either:
			1. refer the *customer* to the *distributor's* website; or
			2. provide the information to the *customer*.

# Life-support equipment

### Requirement

A *distributor* is required to perform its obligations under this clause 7 in a way that promotes the objective of this clause.

### Objective

The objective of this clause 7 is to ensure that persons who require *life-support equipment* receive the full protections of the life-support provisions from when they first advise their *retailer* or *distributor* that the premises require *life-support equipment*. These protections apply until the premises are validly *deregistered*.

### Registration of life-support equipment

* + 1. **Distributor obligations when advised by customer**
1. Within one *business day* from being advised by a *small customer* that a *life-support resident* resides, or is intending to reside, at the *small customer’s* premises, a *distributor* must record in a *register of life-support customers and residents* the *life-support customer details*.
2. A *distributor* advised by a *small customer* that a *life-support resident* resides, or is intending to reside, at the *small customer’s* premises, must determine whether the *life-support equipment* is fuelled by both electricity and *gas* and, if it is, inform the *customer* that the *customer* should also inform their electricity *retailer* or *distributor* who supplies electricity at the *small customer’s* premises that a *life-support resident* resides, or is intending to reside, at the *small customer’s* premises.
3. Within five *business days* after being advised by a *small customer* that a *life-support resident* resides, or is intending to reside, at the *small customer’s* premises, a *distributor* must give to the *customer*, in plain English:
	* + - 1. a *medical confirmation form* in accordance with clause 7.5;
				2. information explaining that, if the *customer* fails to provide *medical confirmation*, the *customer* may be *deregistered* and, if so, the *customer* will cease to receive the *life-support protections*;
				3. advice that there may be *planned interruptions* or *unplanned interruptions* to the supply at the supply address and that the *distributor* is required to notify them of a *planned interruption* in accordance with clause 5.6;
				4. information to assist the *customer* to prepare a plan of action in the case of an *unplanned interruption*;
				5. an emergency telephone contact number for the *distributor* (the charge for which is no more than the cost of a local call);
				6. advice that if the *customer* decides to change *retailer* at the premises and a person residing at the *customer’s* premises continues to require *life-support equipment*, the *customer* should advise their new *retailer* of the requirement for *life-support equipment*;
				7. information about the types of equipment that fall within the definition of *life-support equipment*, and the additional information provided in Schedule 7 of the *Energy Retail Code of Practice*;
				8. advice that the *customer* may be eligible for concessions and rebates offered by the State or Federal governments, including information about how to access them; and
				9. information in community languages about the availability of interpreter services for the languages concerned and telephone numbers for the services.
4. Within one *business day* after being advised by a *small customer* that a *life-support resident* resides, or is intending to reside, at the *small customer’s* premises, a *distributor* must notify the *retailer* that a person residing or intending to reside at the *customer’s* premises requires *life-support equipment* and the date from which the *life-support equipment* is required.

### Distributor obligations when advised by retailer

Within one *business day* after being advised by a *retailer*, under section 48DI(4) of the *Act*, that a *life-support resident* resides, or is intending to reside, at the *small customer’s* premises, a *distributor* must record in a *register of life-support customers and residents* the *life-support customer details*.

### Content of medical confirmation form

A *medical confirmation form* must:

1. be dated;
2. state that completion and return of the form to the *distributor* will satisfy the requirement to provide *medical confirmation* under this Code of Practice;
3. request the following information from the *customer*:
	* + - 1. supply address;
				2. the date from which the *customer* requires supply of *gas* at the supply address for the purposes of the *life-support equipment*; and
				3. *medical confirmation*;
4. specify the types of equipment that can fall within the definition of *life-support equipment*;
5. advise the date by which the *customer* must return the *medical confirmation form* to the *distributor*; and
6. advise the *customer* they can request an extension of time to complete and return the *medical confirmation form*.

### Confirmation of supply address as requiring life-support equipment

* + 1. Where a *medical confirmation form* is provided to a *customer*, a *distributor* must:
1. from the date of the *medical confirmation form*, give the *customer* a minimum of 50 *business days* to provide *medical confirmation;*
2. provide the *customer* at least two written notices to remind the *customer* that the *customer* must provide *medical confirmation* (each a confirmation reminder notice);
3. ensure the first confirmation reminder notice is provided no less than 15 *business days* from the date of issue of the *medical confirmation form*;
4. ensure the second confirmation reminder notice is provided no less than 15 *business days* from the date of issue of the first confirmation reminder notice; and
5. on request from a *customer*, give the *customer* at least one extension of time to provide *medical confirmation*. The extension must be a minimum of 25 *business days*.
	* 1. A confirmation reminder notice must:
6. be dated;
7. state the date by which the *medical confirmatio*n is required;
8. specify the types of equipment that fall within the definition of *life-support equipment*; and
9. advise the *customer* that:
	* + - 1. the *customer* must provide *medical confirmation*;
				2. the supply address is temporarily registered as requiring *life-support equipment* until the *medical confirmation* is received;
				3. failure to provide *medical confirmation* may result in the supply address being *deregistered*; and
				4. the *customer* can request an extension of time to provide *medical confirmation*.

### Ongoing distributor obligations

* + 1. Where a *distributor* is required to register a *customer’s* supply address in a *register of life-support customers and residents*, the *distributor* has the following ongoing obligations:
1. within one *business day* after receiving relevant information about the *life-support equipment* requirements for the *customer*’s premises (including *medical confirmation*) or any relevant contact details, give such information to the *retailer* for the purposes of updating the *retailer*’s *register of life-support customers and residents*, unless the relevant information was provided to the *distributor* by the *retailer*;
2. within one *business day* after being advised by a *customer* or *retailer* of any update to the *life-support equipment requirements* for the *customer*'s premises or any relevant contact details, update the *register of life-support customers and residents*;
3. except in the case of an *interruption*, not *disconnect* the supply address after the date the *life-support equipment* will be required at the supply address; and
4. in the case of an *interruption* that is a *planned interruption*, comply with clause 5.6.
	* 1. In addition to the obligations specified in clause 7.7.1(a),where a *distributor* is required to record a *customer’s life-support customer details* in a *register of life-support customers and residents* under clause 7.3.1(a), if the *distributor* becomes aware that the *customer* has subsequently transferred to another *retailer* (a new *retailer*) at that *supply address*, the *distributor* must notify the new *retailer* (within one *business day* from becoming aware) that a person residing at the *customer’s supply address* requires *life-support equipment.*

### Deregistration of life-support customer

* + 1. A *distributor* must not *deregister* a *customer* except in the circumstances permitted under clauses 7.8 to 7.12.
		2. If a *customer* is *deregistered* by a *distributor*, the *distributor* must:
1. within five *business days* of the date of deregistration, notify the *retailer* of the date of deregistration and reason for deregistration; and
2. within one *business day* from deregistration, update its *register of life-support customers and residents* as required by clause 7.13.
	* 1. If a *distributor* is notified by a *retailer* that the *retailer* or an *exempt person* has *deregistered a customer’s supply address*under the *Energy Retail Code of Practice*, the *distributor* must (within one *business day* from notification) update *life-support customer details* entered in its *register of life-support customers and residents* as required by clause 7.13.

### Cessation of distributor obligations after deregistration

A *distributor’s* obligations under clause 7.7 cease to apply in respect of a *customer* once that *customer* is validly *deregistered*.

### Deregistration where medical confirmation not provided

* + 1. Where a *customer* whose supply address has been registered by a *distributor* under clause 7.3.1(a) fails to provide *medical confirmation*, the *distributor* may *deregister* the *customer* only when:
1. the *distributor* has complied with the requirements under clause 7.6;
2. the *distributor* has taken reasonable steps to contact the *customer* in connection with the *customer*’s failure to provide *medical confirmation* in one of the following ways:
	* + - 1. in person;
				2. by telephone; or
				3. by electronic means;
3. the *distributor* has provided the *customer* with a *deregistration notice* no less than 15 *business days* from the date of issue of the second confirmation reminder notice issued under clause 7.6.1(d); and
4. the *customer* has not provided *medical confirmation* before the date for deregistration specified in the *deregistration notice*.
	* 1. A *deregistration notice* must:
5. be dated;
6. specify the date on which the *customer* will be *deregistered*, which must be at least 15 *business days* from the date of the *deregistration notice*;
7. advise the *customer* that the *customer* will cease to be a registered *life-support customer* unless *medical confirmation* is provided before the date for deregistration; and
8. advise the *customer* that the *customer* will no longer receive the *life-support protections* when the *customer* is *deregistered*.
	* 1. Where a *customer* has been registered by a *distributor* under clause 7.4, the *distributor* may *deregister* the *customer* after being notified by the *retailer* that the *retailer* has *deregistered* the *customer’s supply address* pursuant to clause 166 of the *Energy Retail Code of Practice.*

### Deregistration where there is a change in the customer’s circumstances

Where a *customer* who has been registered by a *distributor* under clause 7.3.1(a) or 7.4 advises the *distributor* that the person for whom the *life-support equipment* is required has vacated the premises or no longer requires the *life-support equipment*, the *distributor* may *deregister* the *customer*:

1. on the date specified in accordance with clause 7.11(a)(i)(B) if:
	* + - 1. the *distributor* has provided written notification to the *customer* advising:

that the *customer* will be *deregistered* on the basis that the *customer* has advised the *distributor* that the person for whom the *life-support equipment* is required has vacated the supply address or no longer requires the *life-support equipment*;

the date on which the *customer*’s supply address will be *deregistered*, which must be at least 15 *business days* from the date of that written notification;

that the *customer* will no longer receive the *life-support protections* when the supply address is *deregistered*; and

that the *customer* must contact the *distributor* prior to the date specified in accordance with clause 7.11(a)(i)(B) if the person for whom the *life-support equipment* is required has not vacated the supply address or requires the *life-support equipment*; and

* + - * 1. the *customer* has not contacted the *distributor* prior to the date specified in accordance with clause 7.11(a)(i)(B) to advise that the person for whom the *life-support equipment* is required has not vacated the supply address or requires the *life-support equipment*; or
1. a date that is less than 15 *business days* from the date of written notification if the *customer* or their authorised representative give *explicit informed consent* to the supply address being *deregistered* on that date.
2. *Explicit informed consent* is consent given by a *customer* to a *distributor* where:
	* + - 1. the *distributor*, or a person acting on behalf of the *distributor*, has clearly, fully and adequately disclosed in plain English all matters relevant to the consent of the *customer*, including each specific purpose or use of the consent; and
				2. the *customer* gives the consent in accordance with subclause (d); and
				3. the *customer* is competent to do so.
3. *Explicit informed consent* requires the consent to be given by the *customer*:
	* + - 1. in writing signed by the *customer*; or
				2. verbally, so long as the verbal consent is evidenced in such a way that it can be verified and made the subject of a record; or
				3. by electronic communication generated by the *customer*.
4. A *distributor* must create a record of each *explicit informed consent* required by clause 7.11 and provided by a *customer*, and retain the record for at least two years.
5. A *distributor* may *deregister* a *customer* after being notified by the *retailer* that the *retailer* has *deregistered* the *customer*’s supply address pursuant to clause 166 of the *Energy Retail Code of Practice*.
6. A *distributor* may, at any time, request a *customer* whose supply address has been registered under clause 7.3 to confirm whether the person for whom *life-support equipment* is required still resides at the supply address or still requires *life-support equipment*.

### Deregistration where there is a change in the customer’s retailer

* + 1. Where a *distributor* has registered a *customer* pursuant to clause 7.4 and the *distributor* becomes aware that the *customer* has subsequently transferred to another *retailer*, the *distributor* may *deregister* the *customer* on the date specified in accordance with clause 7.12.1(a)(ii) if:
1. the *distributor* has provided written notification to the *customer* advising:
	* + - 1. that the *customer* will be *deregistered*;
				2. the date on which the *customer* will be *deregistered*, which must be at least 15 *business days* from the date of that written notification;
				3. that the *customer* will no longer receive the *life-support protections* under this Clause 7 when the *customer* is *deregistered*; and
				4. that the *customer* must contact the *distributor* prior to the date specified in accordance with clause 7.12.1(a)(ii) if a person residing at the *customer*’s supply address requires *life-support equipment*; and
2. the *customer* has not contacted the *distributor* prior to the date specified in accordance with clause 7.12.1(a)(ii) to advise that a person residing at the *customer*’s supply address requires *life-support equipment*.
	* 1. Nothing in clause 7.12.1 affects the operation of clause 7.3.1(a) and 7.4 following a *customer’s* transfer to the other *retailer.*

### Registration and deregistration details must be kept by distributors

A *distributor* must:

1. establish policies, systems and procedures for registering and *deregistering* *life-support customers*, to facilitate compliance with the requirements in this clause 7; and
2. ensure that the *register of life-support customers and residents* is maintained and kept up to date, including:
	* + - 1. the date when the *customer* requires supply of energy at the supply address for the purposes of the *life-support equipment*;
				2. when *medical confirmation* was received from the *customer* in respect of the premises;
				3. the date when the *customer* is *deregistered* and the reason for *deregistration*; and
				4. a record of communications with the *customer* required by clauses 7.11 and 7.12.

# Customer prohibitions and obligations

### Customer prohibitions

A *customer* must use *best endeavours* to not:

1. allow *gas* supplied by a *distributor* to the *customer*’s supply address to be used at another supply address;
2. take at the *customer*’s supply address *gas* supplied to another supply address;
3. supply *gas* to any other person unless permitted by *regulatory requirements* or agreed by a *distributor*;
4. tamper with, or permit tampering with, the *meter* or associated equipment;
5. bypass, or allow *gas* supplied to the supply address to bypass, the meter;
6. allow *gas* supplied under a residential tariff to be used for non-residential purposes other than home offices;
7. allow *gas* supplied under a specific purpose tariff to be used for another purpose;
8. allow a person, other than a person who is (to the best of the *customer*’s knowledge) a *gas installer*, to perform any work on the *gas installation*;
9. use the *gas* supply in a manner that may:
	* + - 1. interfere with a *distributor*’s *distribution system* or with supply to any other *gas installation*; or
				2. cause damage or interference to any third party; or
10. interfere, or knowingly allow interference, with a *distributor*’s *distribution system* or any metering equipment at the supply address, except as permitted by law.

### Customer obligations

A *customer* must use *best endeavours* to:

1. provide a *distributor* and its equipment safe, convenient and unhindered access to the *customer*’s supply address for:
	* + - 1. *connection* or *disconnection* of supply;
				2. inspection or testing of *gas installations* or *metering installations*;
				3. undertaking inspection, repairs, testing or maintenance of a *distribution system*; and
				4. collection of *metering data*,

in accordance with the provisions of this Code of Practice;

1. maintain the *gas installation* at the *customer*’s supply address in a safe condition;
2. protect a *distributor*’s equipment at the *customer*’s supply address from damage and interference;
3. inform a *distributor* as soon as possible if there is any:
	* + - 1. change to the major *gas* usage purpose of the *customer*’s supply address;
				2. change affecting access to metering equipment;
				3. change to the quality or safety of the supply of *gas* to the *customer* or any other person; or
				4. *gas* leak or other problem with a *distributor*’s *distribution system*.
4. take reasonable precautions to minimise the risk of loss or damage to any equipment, premises or business of the *customer* which may result from poor quality or reliability of *gas* supply.

# Non-compliance by distributors and customers

### Distributor’s obligation to remedy and report

* + 1. If a *distributor* breaches this Code of Practice, it must remedy that breach as soon as practicable.
		2. Where a breach of this Code of Practice by a *distributor* is found to be caused by a *customer* not complying with the Code of Practice, the *distributor* is deemed to have complied with the Code of Practice unless the *distributor* does not actin accordance with clause 9.3.2 to seek the *customer’s* compliance.
		3. A *distributor* must report to the *Commission* any breach or potential breach of the obligations identified in Schedule 3, Part 1, in the manner, form and time specified in the schedule.
		4. A *distributor* must provide to the *Commission* performance indicator reports identified in Schedule 3, Part 2, in the manner, form and time specified in the schedule.

### Notification to customers

If a *distributor* becomes aware of its failure to comply with any obligation under this Code of Practice, which can reasonably be expected to have a material adverse impacton a *customer*, it must:

1. notify each *customer* likely to be adversely affected by the non-compliance within 5 *business days*;
2. undertake an investigation of the non-compliance as soon as practicable but in any event within 20 *business days*; and
3. advise the *customer* of the steps it is taking to comply.

### Non-compliance by customers

* + 1. A *customer* is deemed to comply with an obligation under this Code of Practice unless the *customer* is expressly informed of the non-compliance or otherwise becomes aware of the non-compliance or could reasonably have been expected to be aware of the non-compliance.
		2. If a *distributor* becomes aware of a breach of this Code of Practice by a *customer*, which is not of a trivial nature, the *distributor* must notify the *customer*, in writing and as far as possible using plain English, of:
1. details of the non-compliance and its implications, including any impact on the *distributor* and other *customers*;
2. actions that the *customer* could take to remedy the non-compliance;
3. a reasonable time period in which compliance must be demonstrated;
4. any consequences of non-compliance; and
5. the *distributor*’s procedure for handling *complaints*.
	* 1. A *customer* must use *best endeavours* to remedy any non-compliance with this Code of Practice within the time period specified in any notice of non-compliance sent by a *distributor* in accordance with clause 9.3.2.

### Tenants’ obligations

* + 1. Where a *residential customer* has been advised of non-compliance with this Code of Practice in accordance with clause 9.3.2 and is unable to remedy the non-compliance because they are not the owner of the premises where the *distribution delivery point* is located, the *residential customer* must notify the owner or other person responsible for the premises to fulfil the obligation.
		2. On request, the *residential customer* must provide a *distributor* with evidence that they have notified the owner, or other person responsible, of the non-compliance and of the requirement to comply with this Code of Practice.

# Customer complaint handling

* + 1. A *distributor* must handle a *complaint* by a *customer* in accordance with Australian Standard AS ISO 10002-2018 (Quality Management – Customer satisfaction – Guidelines for *complaints* handling in organisations) as amended from time to time.
		2. A *distributor* must include information on its *complaint* handling processes on the *distributor’s* website.
		3. When a *distributor* responds to a *customer’s* *complaint*, the *distributor* must inform the *customer* in writing that:
1. the *customer* has a right to raise the *complaint* to a higher level within the *distributor's* management structure; and
2. if, after raising the *complaint* to a higher level the *customer* is still not satisfied with the *distributor's* response, the *customer* has a right to refer the *complaint* to the *energy ombudsman*, or other relevant external dispute resolution body.
	* 1. A *distributor* must include the contact details for the *energy ombudsman* on any *disconnection* warning notice issued by the *distributor*.

# Notification of change of gas type

### Distributor notice to small customers of change of gas type

* + 1. Subject to clause 11.1.3, a *distributor* must notify a *small customer* by any appropriate means prior to a change of gas type in a *distribution system* to which that *customer*’s premises are connected.

Note: A change of gas type would occur, for example, if only *natural gas* is supplied through a *distribution system* and then a new facility capable of injecting hydrogen is connected to that system. This is because after the connection of that facility, *customers* may be supplied with a *gas blend* made up of *natural gas* and hydrogen. A change in the volume of *primary gases* that may be blended together to make a *gas blend* is not a change of gas type.

* + 1. A notice under clause 11.1.1 must:
1. be in clear, simple and concise language;
2. include:
	* + - 1. the *transition date*;
				2. the type of gas that may be supplied through the distribution system on and from the *transition date*;
				3. whether the change of gas type is for a fixed time period or on an ongoing basis and, if the change of gas type is for a fixed time period, the last day of that period;
				4. if the type of gas that may be supplied through the *distribution system* is a *gas blend*, the *primary gases* that are blended together to make the *gas blend*;
				5. the potential impact of the change of gas type on the volume of gas and the heating value of gas consumed by customers whose premises are connected to the *distribution system*, compared to the *type of gas* supplied to the *customer* immediately prior to the *transition date*; and

Note: if the type of gas that may be supplied on and from the *transition date* is a *gas blend*, the potential impact on the volume of gas consumed and the heating value of that gas may be expressed as a range.

* + - * 1. the contact details of the distributor.
1. be provided to the small customer prior to the transition date.
	* 1. A *distributor* is not required to provide a notice under clause 11.1.1 if the change of gas type for the relevant *distribution system* is a change from:
2. *natural gas* to *biomethane* or from *natural gas* to a *gas blend* comprised only of *natural gas* and *biomethane*; or
3. *biomethane* or a *gas blend* comprised only of *natural gas* and *biomethane* to *natural gas*.

### Publication of information on gas type

* + 1. A *distributor* must publish on its website:
1. information on the *type of gas* that may be supplied through a *distribution system*; and
2. if there is a change to the *type of gas* that may be supplied through a *distribution system*, the *transition date*.
	* 1. The information published under clause 11.2.1 must:
3. be expressed in clear, simple and concise language;
4. be in a format that:
	* + - 1. makes it easy for a *small customer* to understand; and
				2. enables a *small customer* to obtain the information relevant to their premises using the postcode or the address of their premises; and
5. be kept up to date.

# Regulatory reviews

### Appointment of reviewer

* + 1. Upon direction by the *Commission*,a *distributor* must nominate an independent reviewer to be approved by the *Commission* to conduct *reviews* of:
			1. the *distributor’s* compliance with its obligations under its *distribution licence*, a Code of Practice or the *Act*;
			2. the reliability and quality of information reported by *distributor* to the *Commission* and the consistency of that information with the *Commission’s* specification; and
			3. any other matter as directed by the *Commission*.
		2. Following a direction pursuant to clause 12.1.1, a *distributor* must:
			1. obtain the *Commission’s* approval of the independent reviewer and the scope, timing and methodology of the *review*; and
			2. upon obtaining the *Commission’s* approval, promptly appoint the independent reviewer to conduct the *review*.
		3. A *distributor* must ensure that the *Commission* is promptly provided with a copy of any report produced by the independent reviewer in the course of a *review* to be used by the *Commission* in any manner consistent with its objectives.
		4. A *distributor* must comply, and must require the independent reviewer to comply, with any *guidelines* issued by the *Commission* dealing with *reviews*.

# Other matters

### Distributors permitted to subcontract functions

A *distributor* may contract with another person to perform the *distributor’s* functions under this Code of Practice, but if so, the *distributor* remains responsible for ensuring that those functions are performed in a compliant manner.

### Adjustment of network charges

* + 1. A *distributor* is not permitted to recover charges from a *retailer* if the *retailer* is not permitted to recover those charges from a *small customer* under the *Energy Retail Code of Practice*.
		2. Clause 13.2.1 does not apply where the reason the *retailer* is not permitted to recover charges is the result of some fault of the *retailer*.

### Costs of inspection and testing

The cost of inspecting and testing *metering installations* or *connections* are to be borne by a *distributor*, unless the inspection reveals that the *customer* is in breach of a *regulatory requirement*, in which case the *customer* will be responsible for the reasonable costs of the inspection.

# Schedule 1: Civil Penalty Requirements

The following provisions of this Code of Practice are specified civil penalty requirements for the purpose of the *Essential Services Commission Act 2001*.

**Clauses specified as civil penalty requirements**

|  |  |
| --- | --- |
| Part 3 – Operation of a distribution system | 3.1.1(a); 3.1.1(b); 3.1.1(c); 3.1.1(d); 3.1.1(e); 3.1.1(f); 3.1.2; 3.2.2; 3.3; 3.4.1; 3.4.6; 3.4.7; 3.4.9; 3.5.1; 3.5.2; 3.5.4. |
| Part 4 – Connections and augmentation | 4.1.1; 4.1.3; 4.1.4; 4.1.5; 4.2.1; 4.2.3; 4.3.1; 4.3.2; 4.4.1. |
| Part 5 – Interruption | 5.1(a); 5.1(b); 5.1(c); 5.1(d); 5.1(e); 5.1(f); 5.2: 5.3; 5.4; 5.5; 5.6.1; 5.6.2; 5.7.1; 5.7.2; 5.7.3. |
| Part 6 – Disconnection, reconnection and abolishment | 6.1.1(a); 6.1.1(b); 6.1.1(c); 6.1.1(d); 6.1.1(e); 6.1.2; 6.1.3; 6.1.4; 6.2.1; 6.2.2; 6.2.3; 6.3.1; 6.3.3; 6.4.1; 6.4.2; 6.4.3; 6.4.4; 6.4.5. |
| Part 7 – Life-support equipment | 7.3.1(a); 7.3.1(b); 7.3.1(c); 7.3.1(d); 7.4; 7.6.1; 7.7.1; 7.7.2; 7.8.1; 7.8.2; 7.8.3; 7.11(e); 7.13. |
| Part 9 – Non-compliance by distributors and customers | 9.1.1; 9.1.3; 9.1.4; 9.2; 9.3.2. |
| Part 10 – Customer complaint handling | 10.1.1; 10.1.2; 10.1.3; 10.1.4. |
| Part 11 – Notification of change of gas type | 11.1.1; 11.1.2; 11.2.1; 11.2.2. |
| Part 12 – Regulatory reviews | 12.1.1; 12.1.2; 12.1.3; 12.1.4. |
| Part 13 – Other matters | 13.2.1; 13.3. |

# Schedule 2: Operational matters

### Part 1: Distribution system pressure

A *distributor* must use *best endeavours* to maintain sufficient *distribution system* pressures to ensure the minimum pressure is maintained at the *distribution delivery point*. The typical indicative daily pressure for each category of *distribution system* is as follows:

|  |  |
| --- | --- |
| **Distribution System** | **Distribution System Pressure (*kPa* gauge)** |
| **Category** | **Maximum** | **Minimum at distribution delivery point** |
|  |  | **Fringe Point** # | **Outlet of Meter \*** |
| **Low Pressure** | 7 | 1.4 | 1.1 |
| **Medium Pressure** | 20‑210 | 15 | 1.1 |
| **High Pressure 1** | 515 | 140 | 1.1 |
| **High Pressure 2** | 1050 | 600 | 1.1 |
| **Transmission Pressure** | Maximum allowable operating pressure under the Pipeline Licence | On application | 1.1 |

\* Or other such value where a higher supply pressure has been agreed.

# Network operators may use lower *distribution system* pressures during periods of low demand (e.g. overnight) to minimise *unaccounted for gas* and where the operator can demonstrate that quality and reliability of supply can be maintained at those pressures.

### Part 2: Maximum allowable error limits

* + 1. The maximum allowable variance (error Units) in quantity from the agreed true quantity for *gas* *meters* must be:
			1. not more than 2 percent in favour of the *distributor*;
			2. not more than 3 percent in favour of the *customer*.
		2. The maximum allowable error limit range for *correctors* must be ±1 % in addition to the *error limits* outlined in 1.1(a) and 1.1(b) above.
		3. Except where provided for in a sampling plan approved by the *Commission*, the error limit range of *meters* and *correctors* must be established under standard conditions at (1) 20% and (2) 100% of the badge capacity of the *meter*, by a testing agency approved by the *Commission*.
		4. The testing procedures for *gas* *meters* and *correctors* must have an uncertainty limit of no more than 1%.

### Part 3: Unaccounted for gas

Each of the *unaccounted for gas benchmark* values set out in the tables below is specific to a single *DUAFG period*. Where a calendar year comprises two *DUAFG periods*, the quantity of *unaccounted for gas* for each of those *DUAFG periods* must be assessed against the *unaccounted for gas benchmark* applicable in that *DUAFG period*.

**Unaccounted for gas benchmarks – effective from and including 1 July 2023 to 30 June 2028**

**Declared Transmission System (DTS) distribution systems**

|  |  |  |
| --- | --- | --- |
| Distributor | Class A supply point benchmarks>= 250,000 GJ/pa | Class B supply point benchmarks < 250,000 GJ/pa |
| 1 July 2023 – 30 June 2028  | 1 July 2023 – 30 June 2028 |
| Australian Gas Networks (Victoria) | 0.003 | 0.0406 |
| Australian Gas Networks (Albury) | 0.001 | 0.0406 |
| Multinet | 0.003 | 0.0549 |
| AusNet Services | 0.003 | 0.0460 |

**Non-DTS distribution systems – Combined Class A and Class B benchmarks**

|  |  |
| --- | --- |
| Distributor | 1 July 2023 – 30 June 2028 |
| Australian Gas Networks | 0.020 |
| Multinet | 0.020 |
| AusNet Services | 0.049 |

### Part 4: Guaranteed Service Levels

|  |  |  |
| --- | --- | --- |
| **Area of service** | **Threshold to incur GSL paymenta** | **GSL payment amount** |
| Appointments**b** | Failure to attend appointment within agreed appointment window:Customer present – 2 hoursCustomer absent – agreed date  | $50 per event |
| Connections**c** | Failure to connect a customer within 1 day of agreed date. | $80 per day(subject to a maximum of $240) |
| Repeat interruptions**d** | Unplanned interruptions to a customer in a regulatory year period resulting from faults in the distribution system:Upon fifth interruptionUpon tenth interruption | $150additional $150 |
| Lengthy interruptions**e** | Gas supply interruption to a customer not restored:within 12 hourswithin 18 hours | $150additional $150 |

**a** GSL scheme applies to tariff V customers only.

**b** An appointment window of two hours applies if the customer is required or requests to be present. A one-day appointment window applies if the customer is not required or does not request to be present. Appointments rescheduled by a distributor are counted as missed appointments. Appointments rescheduled at the request of the customer are excluded from payments.

**c** Excluding if a distributor is unable to gain access to the installation site.

**d** Excluding force majeure, faults in gas installations, transmission faults, upstream events and third-party events.

**e** Excluding force majeure, faults in gas installations, transmission faults, upstream events and third-party events impacting large diameter mains affecting more than 50 customers. Large diameter mains are high pressure mains of nominal diameter 100mm or greater, and medium pressure or low-pressure mains of nominal diameter 150mm or greater.

# Schedule 3: Gas distributor reporting obligations and performance indicators

### Part 1: Distributor reporting obligations

1. This Part sets out gas distributor compliance reporting obligations, as summarised in Table 1 below.

Table 1: Summary of distributor reporting obligations

|  |  |  |
| --- | --- | --- |
| Reporting obligation | Frequency | Timing |
| Type 1 breaches  | As required | Within two business days of detection. |
| Type 2 breaches | As required | Within 30 calendar days of detection. |
| Material breaches | As required | As soon as practicable. |
| **Annual report** | Annually | For the period 1 July to 30 June – on or before 31 August. |

1. Under the breach classification tables in Tables 2 and 3 below, regulatory obligations are classified as type 1 or type 2.
2. All actual and potential breaches of type 1 obligations as prescribed in Table 2 must be reported to the commission within two business days of detection.
3. If a licensee submits an incomplete report because the investigation is ongoing, the licensee must provide a complete report within 20 business days from the date it was originally reported to the commission.
4. All actual and potential breaches of type 2 obligations as prescribed in Table 3 must be reported to the commission within 30 calendar days of detection.
5. A breach is detected where a business has reasonable grounds to believe a reportable situation has arisen. That is, a business knows of facts or has sufficient evidence to consider that a breach has occurred.

Table 2: Type 1 breaches – gas distributors

|  |
| --- |
| Gas Distribution Code of Practice |
| Part 7 – Life-support equipment | 7.3.1(a); 7.3.1(b); 7.3.1(c); 7.3.1(d); 7.4; 7.6.1; 7.7.1; 7.7.2; 7.8.1; 7.13. |

Table 3: Type 2 breaches – gas distributors

|  |
| --- |
| Gas Distribution Code of Practice  |
| Part 3 – Operation of a distribution system | 3.2.2 |
| Part 4 – Connections and augmentation | 4.2.1; 4.2.3. |
| Part 5 – Interruption  | 5.6.1 |
| Part 6 – Disconnection, reconnection and abolishment | 6.1.1; 6.1.2; 6.1.3; 6.1.4; 6.2.1; 6.2.2; 6.2.3. |
| Part 7 – Life-support equipment | 7.8.2; 7.8.3; 7.11(e). |
| **Gas Industry Act** **2001** |
| Sections 33(2); 33(3); 229A(1); 229A(2). |

**Material adverse breach**

1. Distributors must report potential breaches of any other regulatory obligation, including licence conditions, that may give rise to a material adverse impact on consumers or the Victorian energy market as soon as practicable. The reporting obligation arises when a distributor has reasonable grounds to believe that a potential breach may have occurred and may have a material adverse impact on consumers or the market. A distributor should not wait until confirmation of either the breach or the materiality of harm before reporting the matter to the commission.

**Annual report**

1. A summary of all type 1 and 2 breaches and any other breaches identified during the period must be submitted annually.
2. These reports must be signed by the CEO or Managing Director of the distributor.
3. Distributors will need to submit a nil compliance report in instances where the distributor has no breaches to report for a relevant annual reporting period.

**Form and content of breach reports**

1. All breach reports must be made using the relevant distributor compliance reporting template located on our website. All breach reports must be submitted via the Retailer Distributor Portal.0F[[1]](#footnote-2)

### Part 2: Distributor performance indicators

1. This Part sets out gas distribution businesses’ performance reporting obligations (as summarised in Table 1 below).

Table 1: Summary of distributor performance indicators

|  |  |  |
| --- | --- | --- |
| Reporting obligation | Frequency | Timing |
| Guaranteed service level data | Annual | * For financial years from 2023-24 onwards – on or before 31 December following the end of that financial year.
 |
| Unaccounted for gas (UAFG) data | Annual | * For financial years from 2023-24 onwards – on or before 31 December following the end of that financial year.
 |
| Abolishments data | Annual | * For financial years from 2023-24 onwards – on or before 31 December following the end of that financial year.
 |

**Form and content of performance reports**

1. Performance indicator reports must be submitted using the relevant template located on our website, as amended from time to time. Files should be named according to the following conventions:
* for GSL data, [Distributor]\_GSL\_DATA\_[FinYear].csv
* for UAFG data, [Distributor]\_UAFG\_DATA\_[FinYear].csv
* for Abolishments data, [Distributor]\_ABOLISH\_DATA\_[FinYear].csv
1. All submissions of performance data must be submitted via the Retailer Distributor Portal.1F[[2]](#footnote-3)
2. Where a distributor has no relevant performance data to report for a relevant period the distributor is required to submit the applicable template. The template should note that the distributor has no performance data to report for the relevant period.

**Guaranteed Service Level data**

Gas distribution businesses must provide the commission with the Guaranteed Service Level data on an annual basis, following completion of a financial year by 31 December of that year. This obligation commences at the end of the 2023-24 financial year. The first report is due by 31 December 2024 for the financial year 2023-24.

|  |  |  |
| --- | --- | --- |
| Ref. | Indicators | Distributors are required to report the following data |
| GSL01 | Distributor name | The name of the distributor. |
| GSL02 | Year | The financial year of the reporting period (e.g. 2023-24). |
| GSL03 | GSL category | This field is pre-defined with the applicable guaranteed service level categories (appointments, connections, repeat interruptions and lengthy interruptions). |
| GSL04 | GSL measures | This field is pre-defined with the specific guaranteed service levels measures for each category. |
| GSL05 | GSL value | The total number of guaranteed service level payments made for each measure in the financial year. |
| GLS06 | GSL amount | The total dollar amount of guaranteed service level payments made for each measure in the financial year. |

**Unaccounted for gas (UAFG) data**

Gas distribution businesses must provide the commission with the unaccounted for gas (UAFG) data for the previous five years on an annual basis, following completion of a financial year by 31 December of that year. This obligation commences at the end of the 2023-24 financial year. The first report is due by 31 December 2024 for data for the calendar years 2019-23. The data to be provided must indicate whether the data has been settled between distributors and retailers. Where settled data is not available, distributors must provide the most recently available unsettled data for each of the previous five years, using estimates based on actual available data at the time of reporting.

|  |  |  |
| --- | --- | --- |
| Ref. | Indicators | Distributors are required to report the following data |
| UAG01 | Distributor name | The name of the distributor. |
| UAG02 | Distributors network | Name of the distribution system (DTS or Non-DTS). |
| UAG03 | Year | Each year of the five previous calendar years of the reporting period (e.g. 2019, 2020, 2021, 2022 and 2023). |
| UAG04 | Total injections (GJ) | The total injections in GJ through transfer points or receipt points. |
| UAG05 | Class A UAFG (GJ) | Actual UAFG in GJ for Class A supply points. |
| UAG06 | Class B UAFG (GJ) | Actual UAFG in GJ for Class B supply points. |
| UAG07 | % Class A UAFG | Percentage of UAFG for Class A supply points. |
| UAG08 | % Class B UAFG | Percentage of UAFG for Class B supply points. |

**Abolishments data**

Gas distribution businesses must provide the commission with the Abolishments data on an annual basis, following completion of a financial year by 31 December of that year. This obligation commences at the end of the 2023-24 financial year. The first report is due by 31 December 2024 for the financial year 2023-24.

|  |  |  |
| --- | --- | --- |
| Ref. | Indicators | Distributors are required to report the following data |
| ABS01 | Distributor name | The name of the distributor. |
| ABS02 | Year | The financial year of the reporting period (e.g. 2023-24). |
| ABS03 | Postcode | This field indicates the postcode where the MIRN is located. |
| ABS04 | Total MIRNs | Total number of Meter Installation Registration Numbers (MIRN) existing at the beginning of the financial year of the reporting period in the postcode. |
| ABS05 | Abolishments per postcode | Total number of abolishments completed by the end of the financial year of the reporting period in the postcode. |
| ABS06 | Abolishments total | This is the total number of abolishments completed by the distributor in the financial year for all postcodes. |

1. The Retailer Distributor Portal is maintained by the commission and is the information gateway between licensees and the commission. Available here: https://crisprdp.powerappsportals.com/SignIn?ReturnUrl=%2F [↑](#footnote-ref-2)
2. The Retailer Distributor Portal is maintained by the commission and is the information gateway between licensees and the commission. Available here: https://crisprdp.powerappsportals.com/SignIn?ReturnUrl=%2F [↑](#footnote-ref-3)