## Revised Table B7
Table B7: Costs of existing Victorian electricity generators | [8 empty] | Capacity factor adjustments |  |  |  | Gas | 8.3277 | Brown | 1 | Hydro | 1 | Wind | 1 | Table B7 with Hazel wood and Anglesea closed
Station | Power source | VOM | FOM |  |  |  | Fuel |  | CO2 |  |  | Air pollutants**** |  |  |  |  | Full unit cost: status quo |  | Full unit cost: inc. externalities
|  |  | Plant cost | Installed Capacity Av. Unit capacity factor cost |  |  |  |  | Intensity | Cost – Current price* | Cost - central case** | SO2 NOx PM10 PM2.5 |  |  |  | Cost - central case*** | SMRC AC |  | SMRC AC |  | Output MW
Unit |  | $/MWh | $mn | MW |  | $/MWh | $/GJ | $/MWh | t/MWh | $/MWh | $/MWh | kg/MWh kg/MWh kg/MWh kg/MWh |  |  |  | $/MWh | $/MWh $/MWh |  | $/MWh $/MWh
Source |  | [1] | [1] | [1] |  |  | [1] [2] |  | [1] | [3] |  | [4] [5] | [4] [5] | [4] [5] | [4] [5]
Anglesea | Brown coal | 1.31 | 13.37 | 150 | 0 | 11.31 | 0.43 | 5.11 | 1.21 | 29.18 | 51.25 | 29.44 | 2.23 | 0.1 | 0.02 | 144.39 | 35.61 | 46.91 | 202.06 | 213.37 | 0
Morwell | Brown coal | 1.31 | 12.48 | 189 | 0 | 8.38 | 0.65 | 8.34 | 1.49 | 35.97 | 63.17 | 1.27 | 2.41 | 0.08 | 0.05 | 9.48 | 45.62 | 54 | 82.3 | 90.68 | 0
Hazelwood | Brown coal | 1.31 | 147.97 | 1600 | 0 | 11.73 | 0.09 | 1.35 | 1.53 | 36.87 | 64.75 | 1 | 2.13 | 0.27 | 0.05 | 7.94 | 39.53 | 51.27 | 75.35 | 87.08 | 0
Loy Yang A | Brown coal | 1.31 | 189.54 | 2180 | 0.9 | 11.03 | 0.09 | 1.11 | 1.22 | 29.34 | 51.53 | 3.17 | 1.32 | 0.23 | 0.12 | 17.73 | 31.76 | 42.79 | 71.67 | 82.7 | 1962
Loy Yang B | Brown coal | 1.31 | 56.35 | 1000 | 0.9 | 7.15 | 0.41 | 5.12 | 1.24 | 30 | 52.69 | 2.72 | 1.66 | 0.18 | 0.1 | 15.86 | 36.43 | 43.58 | 74.98 | 82.12 | 900
Yallourn | Brown coal | 1.31 | 134.22 | 1480 | 0.9 | 11.5 | 0.1 | 1.43 | 1.42 | 34.33 | 60.29 | 1.69 | 1.52 | 0.27 | 0.17 | 11.21 | 37.07 | 48.57 | 74.24 | 85.74 | 1332
Bairnsdale | Gas (OCGT) | 2.49 | 1.34 | 94 | 0.1 | 16.33 | 5.54 | 56.9 | 0.6 | 14.6 | 25.64 | 0 | 0.5 | 0.03 | 0.03 | 0.86 | 73.98 | 90.32 | 85.88 | 102.21 | 9.4
Jeeralang A | Gas (OCGT) | 9.96 | 3.03 | 212 | 0.1 | 16.33 | 5.54 | 84.47 | 0.9 | 21.68 | 38.07 | 0.03 | 2.14 | 0.06 | 0.06 | 3.24 | 116.11 | 132.44 | 135.75 | 152.08 | 21.2
Jeeralang B | Gas (OCGT) | 9.96 | 3.26 | 228 | 0.1 | 16.33 | 5.54 | 84.47 | 0.9 | 21.68 | 38.07 | 0.03 | 2.14 | 0.06 | 0.06 | 3.24 | 116.11 | 132.44 | 135.75 | 152.08 | 22.8
Laverton Nth | Gas (OCGT) | 8.73 | 4.46 | 312 | 0.1 | 16.33 | 6.06 | 69.96 | 0.68 | 16.33 | 28.68 | 0 | 0.54 | 0.04 | 0.03 | 0.92 | 95.02 | 111.35 | 108.29 | 124.62 | 31.2
Mortlake | Gas (OCGT) | 9.35 | 8.1 | 566 | 0.1 | 16.33 | 5.6 | 61.13 | 0.64 | 15.51 | 27.24 | 0 | 0.29 | 0.02 | 0.02 | 0.5 | 86 | 102.34 | 98.23 | 114.56 | 56.6
Newport | Gas (OCGT) | 2.48 | 22.45 | 510 | 0.1 | 50.25 | 6.06 | 62.23 | 0.62 | 14.91 | 26.18 | 0 | 0.21 | 0.03 | 0.03 | 0.5 | 79.61 | 129.87 | 91.38 | 141.64 | 51
Somerton | Gas (OCGT) | 10.58 | 2.29 | 160 | 0.1 | 16.33 | 6.06 | 88.62 | 0.86 | 20.68 | 36.32 | 0 | 0.77 | 0.04 | 0.04 | 1.24 | 119.88 | 136.21 | 136.75 | 153.09 | 16
Valley Power | Gas (OCGT) | 10.58 | 4.29 | 300 | 0.1 | 16.33 | 5.54 | 80.6 | 0.86 | 20.68 | 36.32 | 0 | 2.24 | 0.11 | 0.1 | 3.54 | 111.86 | 128.2 | 131.04 | 147.37 | 30
Dartmouth | Hydro | 7.87 | 10.59 | 185 | 0.15 | 43.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.87 | 51.42 | 7.87 | 51.42 | 27.75
Eildon | Hydro | 7.87 | 7.73 | 135 | 0.15 | 43.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.87 | 51.42 | 7.87 | 51.42 | 20.25
Hume (VIC) | Hydro | 7.87 | 1.66 | 29 | 0.15 | 43.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.87 | 51.42 | 7.87 | 51.42 | 4.35
Macarthur | Hydro | 12.5 | 17.49 | 420 | 0.15 | 15.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5 | 28.35 | 12.5 | 28.35 | 63
McKay Creek | Hydro | 7.87 | 17.74 | 310 | 0.15 | 43.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.87 | 51.42 | 7.87 | 51.42 | 46.5
Murray 1 | Hydro | 6.77 | 54.37 | 950 | 0.15 | 43.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.77 | 50.32 | 6.77 | 50.32 | 142.5
Murray 2 | Hydro | 6.77 | 31.59 | 552 | 0.15 | 43.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.77 | 50.32 | 6.77 | 50.32 | 82.8
West Kiewa | Hydro | 7.87 | 3.43 | 60 | 0.15 | 43.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.87 | 51.42 | 7.87 | 51.42 | 9
Challicum Hills | Wind | 1.93 | 1.18 | 53 | 0.3 | 8.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 10.51 | 1.93 | 10.51 | 15.9
Oaklands Hill | Wind | 1.93 | 1.52 | 67 | 0.3 | 8.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 10.51 | 1.93 | 10.51 | 20.1
Portland | Wind | 1.93 | 2.3 | 102 | 0.3 | 8.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 10.51 | 1.93 | 10.51 | 30.6
Waubra | Wind | 1.93 | 4.33 | 192 | 0.3 | 8.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 10.51 | 1.93 | 10.51 | 57.6
Yambuk | Wind | 1.93 | 0.68 | 30 | 0.3 | 8.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 10.51 | 1.93 | 10.51 | 9
[20 empty] | MW= | 4961.55
* 2013-14 carbon price of $24.15/tonne-CO2
** Using central case cost estimates of $40.42/t-CO2
*** Using central case cost estimates of $4.80/kg-SO2, $1.27/kg-NOx, $0.31/kg-PM10, $6.10/kg-PM2.5. We use the same value for air pollutant impacts ($/kg-pollutant) as used for Hazelwood. Note that all other major coal fired power plants and some gas peaking plants are located very close to Hazelwood in the Latrobe Valley. Other peaking plants, though, are spread across the state and may have significantly different local impacts.
**** Emission intensity is average for 2010/11 and 2011/12
Sources: [1] AEMO, ‘2013 Planning Studies - Existing Generator Technical Data Summary’ (Jan 2013); [2] AEMO, ‘2013 Planning Studies - New Generation Technical Data and Assumptions Summary’
(Jan 2013); [3] Clean Air Energy Regulator; [4] National Pollutant Inventory online database: http://www.npi.gov.au/npi-data; [5] AEMO, NEM Historical Market Information Report (2013)

## Pop density
http://www.epa.nsw.gov.au/resources/air/healthpartemiss.pdf | [5 empty] | From Hazelwood social cost of carbon
Percentile | population density
3.1221 | 1.0172
4.6832 | 1.4793
6.3361 | 2.8735
8.1726 | 4.1085
11.4784 | 5.0397
14.6924 | 6.3961
18.4573 | 7.7134
20.6612 | 8.8388
24.3343 | 9.7894
27.9155 | 9.9575
32.4151 | 13.5282
38.9348 | 16.8794
45.6382 | 23.7264
50.5051 | 30.1122
54.7291 | 33.9234
60.2388 | 42.327
66.2075 | 60.5181
70.2479 | 74.2352
75.4821 | 95.8331
79.3388 | 109.816
82.2773 | 139.3726 |  |  | Moe | 158
85.8586 | 173.8985 |  |  | Traralgon | 169
89.348 | 220.7028 |  |  | mean | 163.5
92.6538 | 304.9919
94.5822 | 414.3575
96.8779 | 612.958
97.9798 | 922.3162
98.5308 | 1190.654
98.9899 | 1387.8068
100 | 1460.5289
84 |  | 163
84 |  | 1
0 |  |  | 200
84 |  |  | 163

## Table B2
Table B2: Comparison of emission intensity of air pollutants from Hazelwood with US plants
Emission intensity US plants | Units | Source | All cases | percentiles | SO2 | NOx | PM10 right axis | PM2.5 right axis
5th % | kg/MWh | NAS |  | 5 | 0.68 | 0.59 | 0.05 | 0.04
25th % | kg/MWh | NAS |  | 25 | 2.45 | 1.18 | 0.13 | 0.09
50th % | kg/MWh | NAS |  | 50 | 4.04 | 1.68 | 0.22 | 0.16
75th % | kg/MWh | NAS |  | 75 | 7.26 | 2.22 | 0.43 | 0.37
95th % | kg/MWh | NAS |  | 95 | 14.97 | 4.08 | 0.95 | 0.82
34 |  |  | kg/MWh | Loy Yang A | Loy Yang B | Yallourn | test percentile
|  |  | SO2 | 3.17 | 2.72 | 1.69 | 15.6846 | 1.69 | y = 4.04E-07x4 - 3.60E-05x3 + 4.02E-04x2 + 9.65E-02x + 1.92E-01
|  |  | NOx | 1.32 | 1.66 | 1.52 | 39.2652 | 1.52 | y = 2.08E-07x4 - 2.88E-05x3 + 1.10E-03x2 + 1.48E-02x + 4.92E-01
|  |  | PM10 | 0.23 | 0.18 | 0.27 | 59.7578 | 0.27 | y = 3.02E-08x4 - 3.18E-06x3 + 1.01E-04x2 + 2.83E-03x + 3.37E-02
|  |  | PM2.5 | 0.12 | 0.1 | 0.17 | 52.3158 | 0.17 | y = 1.52E-08x4 - 8.57E-07x3 + 2.48E-06x2 + 2.79E-03x + 2.61E-02
Percentiles
|  |  | SO2 | 35.7385 | 28.762 | 15.6846
|  |  | NOx | 30.1226 | 48.3084 | 39.2652
|  |  | PM10 | 52.5156 | 39.3202 | 59.7578
|  |  | PM2.5 | 37.8575 | 29.4674 | 52.3158
From http://environmentvictoria.org.au/wp-content/uploads/2016/06/Hazelwood-Report-Social-cost-of-carbon.pdf
Note on I3: 1. Data from table B2 goes in here to create graph
Note on I10: 2. Equations from graph put in these cells
Note on E11: 3. Emissions data from tab Revised Table B7 goes in here
Note on H14: 4. Solver adjusts these cells to get I10 to I13 to match E10 to G13 data
Note on E15: 5. Results from Solver put in these columns

## Loy Yang A
Calculation of damage from TABLE 2-8 below | [9 empty] | kg/ton | 907
| Loy Yang A |  |  |  |  | Low case | Central case | High case |  |  | 0
| output |  | Intensity kg/MWh | US percentile |  | 5th % | 25th % | 75th %
SO2 | 53139749.76 | kg | 3.17 | 35.7385 | kg/MWh | 1800 | 3700 | 6900 | US$/ton
NOx | 22127592.96 | kg | 1.32 | 30.1226 | kg/MWh | 680 | 980 | 1800 | US$/ton
PM10 | 3855565.44 | kg | 0.23 | 52.5156 | kg/MWh | 140 | 240 | 490 | US$/ton
PM2.5 | 2011599.36 | kg | 0.12 | 37.8575 | kg/MWh | 2600 | 4700 | 10000 | US$/ton
Output | 16763328 | MWh
Adjustment for inflation and US $
SO2 | [5 empty] | 1.9846 | 4.0794 | 7.6075 | US$/kg
NOx | [5 empty] | 0.74972 | 1.0805 | 1.9846 | US$/kg
PM10 | [5 empty] | 0.15436 | 0.26461 | 0.54024 | US$/kg
PM2.5 | [5 empty] | 2.8666 | 5.1819 | 11.0254 | US$/kg
Health cost
Calculation for intensity to get US$/MWh |  |  |  | US percentile |  | 5 | 25 | 75 |  | slope | intercept | US$/MWh at percentile
SO2 |  |  |  | 35.7385 | SO2 | 6.2911 | 12.9316 | 24.1158 | US$/MWh | 0.24869 | 5.7422 | 14.6298
NOx |  |  |  | 30.1226 | NOx | 0.98964 | 1.4262 | 2.6196 | US$/MWh | 0.023398 | 0.85959 | 1.5644
PM10 |  |  |  | 52.5156 | PM10 | 0.035502 | 0.06086 | 0.12426 | US$/MWh | 0.0012679 | 0.029162 | 0.095748
PM2.5 |  |  |  | 37.8575 | PM2.5 | 0.34399 | 0.62183 | 1.323 | US$/MWh | 0.013994 | 0.27317 | 0.80294
Total | [5 empty] | 7.6602 | 15.0406 | 28.1827 | US$/MWh |  | Total | 17.0929
https://www.econ.umd.edu/sites/www.econ.umd.edu/files/pubs/Hidden%20Costs%20of%20Energy%20-%20Unpriced%20Consequences%20of%20Energy.pdf
The Hidden Costs of Energy: Unpriced Consequences of Energy Production and Use, published by the US National Academy of Sciences, 2009
Note on D7: Intensities from tab Table B2
Note on E7: Percentiles from tab Table B2
Note on I20: Data for graph
Note on M20: Interpolated health costs from graph using percentile
Note on M21: Total health cost - copied to All stations tab

## Loy Yang B
Calculation of damage | [9 empty] | kg/ton | 907
| Loy Yang B |  |  |  |  | Low case | Central case | High case
| output |  | Intensity | US percentile |  | 5th % | 25th % | 75th %
SO2 | 20915712 | kg | 2.72 | 28.762 | kg/MWh | 1800 | 3700 | 6900 | US$/ton
NOx | 12764736 | kg | 1.66 | 48.3084 | kg/MWh | 680 | 980 | 1800 | US$/ton
PM10 | 1384128 | kg | 0.18 | 39.3202 | kg/MWh | 140 | 240 | 490 | US$/ton
PM2.5 | 768960 | kg | 0.1 | 29.4674 | kg/MWh | 2600 | 4700 | 10000 | US$/ton
Output | 7689600 | MWh
Adjustment for inflation and US $
SO2 | [5 empty] | 1.9846 | 4.0794 | 7.6075 | US$/kg
NOx | [5 empty] | 0.74972 | 1.0805 | 1.9846 | US$/kg
PM10 | [5 empty] | 0.15436 | 0.26461 | 0.54024 | US$/kg
PM2.5 | [5 empty] | 2.8666 | 5.1819 | 11.0254 | US$/kg
Health cost
Calculation for intensity to get US$/MWh |  |  |  | US percentile |  | 5 | 25 | 75 |  | slope | intercept | US$/MWh at percentile
SO2 |  |  |  | 28.762 | SO2 | 5.398 | 11.0959 | 20.6924 | US$/MWh | 0.21338 | 4.927 | 11.0644
NOx |  |  |  | 48.3084 | NOx | 1.2445 | 1.7936 | 3.2944 | US$/MWh | 0.029424 | 1.081 | 2.5024
PM10 |  |  |  | 39.3202 | PM10 | 0.027784 | 0.04763 | 0.097244 | US$/MWh | 0.00099228 | 0.022822 | 0.061839
PM2.5 |  |  |  | 29.4674 | PM2.5 | 0.28666 | 0.51819 | 1.1025 | US$/MWh | 0.011661 | 0.22765 | 0.57128
Total | [5 empty] | 6.957 | 13.4553 | 25.1865 | US$/MWh |  |  | 14.1999
Note on M20: Interpolated health costs from graph using percentile

## Yallourn
Calculation of damage | [9 empty] | kg/ton | 907
| Yallourn |  |  |  |  | Low case | Central case | High case
| output |  | Intensity | US percentile |  | 5th % | 25th % | 75th %
SO2 | 19233227.52 | kg | 1.69 | 15.6846 | kg/MWh | 1800 | 3700 | 6900 | US$/ton
NOx | 17298524.16 | kg | 1.52 | 39.2652 | kg/MWh | 680 | 980 | 1800 | US$/ton
PM10 | 3072764.16 | kg | 0.27 | 59.7578 | kg/MWh | 140 | 240 | 490 | US$/ton
PM2.5 | 1934703.36 | kg | 0.17 | 52.3158 | kg/MWh | 2600 | 4700 | 10000 | US$/ton
Output | 11380608 | MWh
Adjustment for inflation and US $
SO2 | [5 empty] | 1.9846 | 4.0794 | 7.6075 | US$/kg
NOx | [5 empty] | 0.74972 | 1.0805 | 1.9846 | US$/kg
PM10 | [5 empty] | 0.15436 | 0.26461 | 0.54024 | US$/kg
PM2.5 | [5 empty] | 2.8666 | 5.1819 | 11.0254 | US$/kg
Health cost
Calculation for intensity to get US$/MWh |  |  |  | US percentile |  | 5 | 25 | 75 |  | slope | intercept | US$/MWh at percentile
SO2 |  |  |  | 15.6846 | SO2 | 3.3539 | 6.8942 | 12.8567 | US$/MWh | 0.13258 | 3.0613 | 5.1407
NOx |  |  |  | 39.2652 | NOx | 1.1396 | 1.6423 | 3.0165 | US$/MWh | 0.026943 | 0.98983 | 2.0477
PM10 |  |  |  | 59.7578 | PM10 | 0.041676 | 0.071444 | 0.14587 | US$/MWh | 0.0014884 | 0.034234 | 0.12318
PM2.5 |  |  |  | 52.3158 | PM2.5 | 0.48732 | 0.88093 | 1.8743 | US$/MWh | 0.019824 | 0.387 | 1.4241
Total | [5 empty] | 5.0225 | 9.4889 | 17.8934 | US$/MWh |  |  | 8.7358
Note on M20: Interpolated health costs from graph using percentile

## All stations
From table-o https://www.energy.gov.au/publications/australian-energy-update-2018
|  |  | Total Vic generation |  | 49288.0523 | GWh | cell D49
|  |  | Brown coal fired electricity |  | 38312.6722 | GWh | cell D38
|  |  | Proportion brown coal |  | 77.73%
|  |  | Capacity factor |  | 0.9623
|  | Envionment Victoria calculations health cost | [5 empty] | My calculations - health cost
|  | Health cost | MW | capacity factor | MWh /year | cost per MWh |  | My calc cost per MWh |  | My calc cost
| Loy Yang A | 304700000 | 2180 | 0.9 | 16763328 | 18.1766 |  | 17.0929 |  | 286533809.4061
| Loy Yang B | 125000000 | 1000 | 0.9 | 7689600 | 16.2557 |  | 14.1999 |  | 109191555.4221
| Yallorn | 130800000 | 1480 | 0.9 | 11380608 | 11.4932 |  | 8.7358 |  | 99418516.835
|  | 560500000 |  |  | 35833536 |  |  |  |  | 495143881.6632
[5 empty] | Total $/MWh | 15.6418 |  |  | TotalUS $/MWh | 13.8179
[5 empty] | Total cents//kWh | 1.5642 |  |  | Total US cents/kWh | 1.3818
[5 empty] | Inflation 1996 - 2018 | 1.682 |  |  | Inflation 2007 - 2018 | 1.28
[5 empty] | Total cents//kWh | 2.6309 |  |  | USD - AUD | 1.42
[9 empty] | Aust cents/kWh | 2.5115
From ATSE THE HIDDEN COSTS OF ELECTRICITY: Externalities of Power Generation in Australia
Note on P5: This capacity factor differs slightly from Table B7 because of the removal of Hazelwood
Note on M13: From Environment Victoria table at left
Note on N15: These figures from tab Revised Table B7
Note on O15: These figures from tab Revised Table B7
Note on Q18: Calculated from Environment Victoria data

## Summary
Column1 | Column2 | Column3 | Column4 | Column5
| Loy Yang A | Loy Yang B | Yallourn | Data source
Emissions kg/MWh |  |  |  | Ward
SO2 | 3.17 | 2.72 | 1.69
NOx | 1.32 | 1.66 | 1.52
PM10 | 0.23 | 0.18 | 0.27
PM2.5 | 0.12 | 0.1 | 0.17
Percentiles cf 405 US power stations |  |  |  | Ward
SO2 | 35.7385 | 28.762 | 15.6846
NOx | 30.1226 | 48.3084 | 39.2652
PM10 | 52.5156 | 39.3202 | 59.7578
PM2.5 | 37.8575 | 29.4674 | 52.3158
Health cost A$/MWh at percentile |  |  |  | NAS
SO2 | 14.6298 | 11.0644 | 5.1407
NOx | 1.5644 | 2.5024 | 2.0477
PM10 | 0.095748 | 0.061839 | 0.12318
PM2.5 | 0.80294 | 0.57128 | 1.4241
Total | 17.0929 | 14.1999 | 8.7358
Output GWh/year |  |  |  | Environment Vic
| 16763.328 | 7689.6 | 11380.608 | 35833.536
Totals
Health cost US$M
| 286.5338 | 109.1916 | 99.4185 | 495.1439 | 8 | 0.4
|  |  |  | Totals |  | 2.5 |  | 8
Health cost cents per kWh |  |  |  | 2.5115
Adjustment of self consumption vs export |  |  | 1.4876 | 3.7361 |  |  |  | 0.1
Adjust for prop brown coal generation |  |  | 77.73% | 2.9041
Final health cost Aust cents per kWh |  |  |  | 2.9041 |  |  | 0.4 | 0.6
[7 empty] | 2.5 | 3.8
2.9041
15.4041

## PV generation vs export
http://pv-map.apvi.org.au/historical#4/-26.67/134.12 | [5 empty] | Web site
https://d284f79vx7w9nf.cloudfront.net/attachments/analysis/7/states_e395.csv | [5 empty] | table downloaded |  |  |  | https://www.energycouncil.com.au/media/14635/aec-solar-report_-q3-2018_final.pdf
state | installations | percentage_dwellings | kw_capacity | MW_capacity_under_10_kW | MW_capacity_10_to_100_kW | MW_capacity_over_100_kW | count_under_10_kW | count_10_100_kW | count_over_100_kW
QLD | 579133 | 32.6 | 3536352 | 1935.4 | 285.4 | 1315.5 | 565642 | 13391 | 100
SA | 235619 | 32.1 | 1263787 | 754.1 | 186.9 | 322.8 | 226110 | 9427 | 82
WA | 273262 | 26.1 | 1044635 | 843.7 | 147 | 53.9 | 267495 | 5708 | 59
NSW | 441223 | 17.8 | 2342365 | 1311.1 | 388.1 | 643.1 | 422642 | 18456 | 125
VIC | 358092 | 15.6 | 1613882 | 1111.3 | 264.8 | 237.8 | 346419 | 11554 | 119
ACT | 21395 | 14.2 | 131879 | 68.9 | 13 | 49.9 | 20819 | 560 | 16
NT | 10139 | 14.2 | 82051 | 44 | 19.8 | 18.3 | 9605 | 510 | 24
TAS | 32823 | 14.1 | 133831 | 107.9 | 20.4 | 5.6 | 31759 | 1058 | 6
Total Vic kW under 100 kW |  |  | 1376.1
Number of installations under 100 kW |  |  | 357973
Average size kW |  |  | 3.8441
System size | Export % | trendline | coeffs
1 | 28 |  | -2.5022
1.5 | 37 |  | 25.746
2 | 49 |  | 5.2286
2.5 | 54
3 | 60
3.5 | 67
4 | 65
4.5 | 68
5 | 74
3.8441 |  | 67.2238
generation/export ratio |  | 1.4876
Note on D20: These coeffcients are for the trendline. Data from Figure 10 Sunwiz
Note on A27: Ave size from cell D15
Note on C27: Percent calculated from trendline